Department of Chemistry

College of Science

University of Salahaddin- Erbil

Subject: Instrumental Methods of Analysis

Course Book – 4th Year- Medical Biology

Lecturer's name PhD, Prof. Kamal Mustafa Mahmoud

Academic Year: 2022- 2023

Course Book

| 1. Course name | Instrumental Methods of Analysis |
| --- | --- |
| 2. Lecturer in charge | Prof. Kamal Mustafa Mahmoud |
| 3. Department/ College | Chemistry/ Science |
| 4. Contact | e-mail: kamal.mahmoud@su.edu.krd Tel: 00964 750 454 61 98 |
| 5. Time (in hours) per week | Theory: 2 h/week Practical: 3 h/week |
| 6. Office hours | Sunday (10:00- 11:30), Monday (10:30- 13:00), Tuesday (10:00- 11:00), Thu. (10:30 – 12:00). |
| 7. Course code |  |
| 8. Teacher's academic profile | - I awarded B.Sc. in Chemistry (College of Science) in 1980 Sula mania University. - M.Sc. in 1983 (Salahaddin University-Erbil). - Assist. Lecturer from 1983 till 1989. - Lecturer from 1989- 1998. - PhD in 1997 (Salahaddin University- Erbil). - Assist. Professor from 1998- 2012. - Professor from 2012 till now. - I supervised more than 10 M.Sc. and PhD students. - I was published more than 35 scientific papers. - I was attended in more than 10 national and international conferences (UK, USA, France, Greece, Pakistan, Malaysia, Indonesia, Jordan, Morocco, Syria). |
| 9. Keywords | Instrumental, Analysis, Kamal Mahmoud |
| 10. Course overview: - Learn about the theory, instrumentation, and applications instrumental analysis. - To gain experience acquiring, treating, and interpreting data. - To gain experience reading and writing scientific documents and presenting orally. - To gain exposure to a wide range of instrumental techniques and the fields associated with them. |
| 11. Course objective: - Gaining experiences how to select a suitable technique and method for analysis of a suitable real sample or pure compound and its additives. - Comparing the techniques through its accuracy and precision. - Comparing the techniques through its sensitivity and selectivity. |
| 12. Student's obligation - The students should have presence in all lectures and Labs. - Every lecture the first 10 min should be debate about the previous lecture and the interested student (participant in the debate) take marks. - The students have round trip to the central laboratories or factories (generally in the 2nd semester). |
| 13. Forms of teaching Using data show and power point in addition to the white board (Students should be use course references). |
| 14. Assessment scheme - Three term examination through the academic year (for theoretical part) (15 Marks total). - Every week, 10 min debate on the previous lecture (theory and practical) (2 Marks). - Three Quizzes through each semester (3 Marks).‌ |
| 15. Student learning outcome: - Students know which technique can be use for a certain analysis, depending on the accuracy, precision, sensitivity and selectivity. Students can easily come in for work in the private sectors, e.g. clinical Lab., industrial Lab., environmental Lab., etc. Today due to the technology students can learn more about the modern instruments e.g. (FAAS, FAES, ICP, UV-Vis-Spectrophotometry, Conductometry, Potentiometric, FIA, etc.) |
| 16. Course Reading List and References‌: ▪ Key references: Fundamentals of Analytical Chemistry. (By: Skoog and West) ▪ Useful references: Chemical Instrumentation. (By: Strobel) ▪ Magazines and review (internet): www.wekepedia, www.science. |
| 17. The Topics: | Lecturer's name |
| Introduction to instrumental Analysis: (Terms associated with chemical analysis; The relation between analytical chemistry and other branches of chemistry and other Sciences; Classification of instrumental techniques; Relation between technique- method and procedure). Feedback of the previous lecture (10 min); General considerations in evaluating: [Precision, Accuracy, Errors in instrumental analysis, Some statistical expressions, (e.g. Standard Deviation, Relative Standard Deviation, Variance, Relative Error, Recovery)]. Feedback of the previous lecture (10 min); General considerations in evaluating (continued): [Sensitivity, Selectivity, Linear calibration curve, Detection limit, Signal to noise ratio]. Feedback of the previous lecture (10 min); Molecular Spectroscopy: Properties of light; nature of electromagnetic radiation; Interaction between light and mater; UV, Visible and IR Spectroscopy (Principles, techniques, and applications). Feedback of the previous lecture (10 min); Molecular Absorption Spectroscopy, Beer’s-Lambert law; Sensitivity enhancement by Beer’s law; Instrumentation of optical methods: (Radiation sources, Wavelength selectors (Filters and monochromators), Cells and sampling devices, Detectors, Readout modules). Feedback of the previous lecture (10 min); Deviation from Beer’s law: (Instrumental deviations, Chemical deviations); Selectivity and enhancing of it by either (changing a reagent, oxidation state, pH, or masking agent). Feedback of the previous lecture (10 min); Turbidimetry and Nephelometry. Feedback of the previous lecture (10 min); Molecular Emission Spectroscopy: Principles, Energy transition levels when a molecule gains energy. Requirements for fluorescence: (Structure rigidity, Temperature and solvent effects, Effect of pH (Chemical quenching), Instrumentation: Fluorimeter Spectrofluorimeter). Feedback of the previous lecture (10 min); Molecular Emission Spectroscopy (Cont.): Phosphorescence and Chemiluminescence’s (Theory, Instrumentations and Applications). Feedback of the previous lecture (10 min); Molecular Spectroscopy: Infrared (IR) spectrometry, Correlation of IR spectra with molecular structure, Instrumentation of IR, Applications (Quantitative and Qualitative Analysis). Feedback of the previous lecture (10 min); Atomic Spectroscopy: Principles (Bands spectra and line spectra); Atomic Emission Spectroscopy (AES); Radiation sources (Flame, Electrical Arc and Spark). Feedback of the previous lecture (10 min); Atomic Spectroscopy (Cont.): Flame Photometry [Flame: (Types of fuels and oxidants, flame zones, mixing of fuels and oxidants, total combustion method); Instrumentation; Effect of Temp. in atomic emission]. Feedback of the previous lecture (10 min); Atomic Spectroscopy: Atomic Absorption Spectroscopy (AAS): [Flame, Premixed type; Radiation source in AAS (H.C.L.); Compares between AES and AAS; Applications of AES and AAS (Direct calibration, Standard addition method)]. Feedback of the previous lecture (10 min); Atomic Spectroscopy: Interferences of Atomic Spectroscopy: (Spectral interferences, ionization, chemical reactions inside the flame, self-absorption). Feedback of the previous lecture (10 min); Flow Injection Analysis (FIA): Principle of Flow Injection Analysis; Descriptions of the main components used in FIA 1- Peristaltic pump (Gilson minipuls; Ismatec pumps) 2- Injection unit 3-Tubings 4- Some Manifold Units Feedback of the previous lecture (10 min); Flow Injection Analysis (FIA): Detectors; Distribution of flow injection multi-component; determinations according to the detection technique; Dispersion in FIA. Feedback of the previous lecture (10 min); Electrochemical techniques for analysis: Potentiometric technique (Reduction- Oxidation (Redox) processes; Electrochemical cells; Reference electrodes; Indicator electrodes). Feedback of the previous lecture (10 min); Electrochemical techniques for analysis: Determination of Equilibrium, Dissociation, Solubility product and Formation Constants by Potential Measurements Feedback of the previous lecture (10 min); Electrochemical techniques for analysis: Reference Electrodes; Salt Bridge; Analyte Solution; Indicator Electrodes; A potential measuring device. Feedback of the previous lecture (10 min); Electrochemical techniques for analysis: Membrane Indicator Electrodes; Glass membrane pH electrodes; Errors that affect pH measurements with glass electrode; Measurement with ISE. Coronavirus Disease (COVID-19) Feedback of the previous lecture (10 min); Electrochemical techniques for analysis: Fluoride (F-) ion selective electrode. Feedback of the previous lecture (10 min); Electrochemical techniques for analysis: Conductometry (Theory, Instrumentation, Applications). | 1st Lecture (1st Week), (2 h), (3/10/2019) 2nd Lecture (2nd Week), (2 h), 10/10/2019 3rd Lecture (3rd Week), (2 h), 17/10/2019 4th Lecture (4th Week), (2 h), 24/10/2019 5th Lecture (5th Week), (2 h), 31/10/2019 6th Lecture (6th Week), (2 h), 7/11/2019 7th Lecture (7th Week), (2 h), 14/11/2019 8th Lecture (8th Week), (2 h), 21/11/2019 9th Lecture (9th Week), (2 h), 28/11/2019 10th Lecture (10th Week), (2 h), 5/12/2019 11th Lecture (11th Week), (2 h), 12/12/2019 12th Lecture (12th Week), (2), 19/12/2019 13th Lecture (13th Week), (2 h), 9/1/2020 14th Lecture (14th Week), (2 h), 16/1/2020 15th Lecture (15th Week), (2 h), 23/1/2020 16th Lecture (16th Week), (2 h), 30/1/2020 17th Lecture (17th Week), (2 h), 6/2/2020 18th Lecture (18th Week), (2 h), 13/2/2020 19th Lecture (19th Week), (2 h), 20/2/2020 20th Lecture (20th Week), (2 h), 27/2/2020 1/3/2020 – 2/5/2020 21st Lecture (21st Week), (2 h), 25/3/2019 22nd Lecture (22nd Week), (2 h), 1/4/2019 |
| 18. Practical Topics: |  |
| General descriptions, importance of this Lab., Safety in the Lab., Hazards of the chemical compounds, etc. Determination of essential water in CuSO4.5H2O: [This experiment is useful for determination of moisture and humidity in real samples (e.g. soil, natural products, meat, etc.)]. Spectrophotometric Determination of Copper sulfate: (The aim of this experiment for applying the Beer’s law and how can be find the concentration of unknown sample). Finding the λmax for solution of CuSO4.5H2O. How to draw the Calibration curve for finding out the concentration of unknown (CuSO4.5H2O)? Spectrophotometric Determination of Iron in soil: (Using real sample for determination of a certain element (Iron for example), while the element react with suitable reagent (1,10-phenanthroline) to produce a color complex which can be detected spectrophotometrically using Beer’s law. Preparation of the real sample. Preparation of the Calibration curve from a standard stock solution, and finding the concentration of Fe2+ in the real sample. Spectrophotometric determination of Chromium and Manganese in steel: [This is for the application of Beer’s law in a mixture containing more than one species (Atotal = A1 + A2 + A3 + …+ An)]. Determination of acetyl salicylic acid using Ultraviolet Spectrophotometry: (The method is based on the analysis of A.S.A. (Aspirin) in the presence of base (NaOH) into pure Salicylic acid (indirect method) the region is UV-region). Determination of Sulfate ion (SO42-) in water using turbid metric technique: (Application of molecular absorption for the turbid solution; finding the hardness of water). Determination of Sodium and Potassium in soil using Flame Atomic Emission Spectrometry (FAES): [The method is selective toward detection of alkali and alkali earth metals; used for clinical, biological, and environmental analysis]. Determination of heavy metals (e.g. Lead, Cadmium, Zinc, etc.) in soil using Flame Atomic Absorption Spectrometry (FAAS): [The method is selective toward detection of heavy metals; used for clinical, biological, and environmental analysis]. pH-meter and its calibration: (The principle of potentiometric technique can be discussed for students, how the pH-meter can be calibrated, what is buffer solutions and how they can be used for the calibration). Conductometric titration of HCl and CH3COOH with NaOH, then determination of dissociation constant (Ka) for acetic acid: Conductivity is widely used for estimating the overall ion content in various sample of practical interest, but conductivity values can not indicate the concentration of a specific ion in the sample. Ion concentration can be determined by means of conductometric titration which based on the fact that the conductance of the solution depends on (mobility or ion conductance number of ions and dilution). Determination of Phenol using Conductometric technique: (The same aim as mentioned in experiment No. 11, but hear the technique is used for determination of organic compounds). Examination for the 1st semester (1st Group). Examination for the 1st semester (2nd Group). | 1st Lab. (1st Week), (3 h), 4/10/2018 2nd Lab. (2nd Week), (3 h), 11/10/2018 3rd Lab. (3rd Week), (6 h), 18/10/2018 4th Lab. (4th Week), (Continued- 3 h), 25/10/2018 5th Lab.(5th Week), (6 h), 1/11/2018 6th Lab. (6th Week), (Continued- 3 h), 8/11/2018 7th Lab. (7th Week), (3 h), 15/11/2018 8th Lab. (8th Week), (3 h), 22/11/2018 9th Lab. (9th Week), (3 h), 29/11/2018 10th Lab. (10th Week), (3 h), 6/12/2018 11th Lab. (11th Week), (3 h), 13/12/2018 12th Lab. (12th Week), (3 h), 20/12/2018 13th Lab. (13th Week), (3 h), 10/1/2019 14th Lab. (14th Week), (3 h), 17/1/2019 15th Lab. (15th Week), (6 h), 20- 27/1/2019 |
| 19. Examinations: 1. Compositional: Q.1// Explain why: (Use necessary diagrams, equations, and graphs) (? Marks) 1) A mercury electrode is not very useful for performing oxidations? Ans. because Hg is too easily oxidized. 2) Photomultiplier tube is more sensitive than photo tube as a detector? Ans. because it contain more than one dynodes. 3) The F- ion selective electrode is selective at pH (5- 8) only? Ans. At pH > 8.0 OH- ion interfere, at pH ˂ 5.0 H+ ions also interfere in total fluoride determinations; here un-dissociated HF forms to which the electrode is not responsive. 4) A merged injection system typically consists of two injection valves that are used to load the reagent and sample, respectively? Ans. This facilitates mixing and reaction development, and saves sample and reagent. 5) Electrochemical methods measure the activity rather than concentration? Ans. to obtain real values, and activity coefficient is not equal to 1.0. 6) Glass electrode can not be used beyond pH 12? Ans. Because glass electrode at pH > 12 become selective for Na+ ion and not H+ ion. 7) (TISAB) solution is added to the sample and standards in the potentiometric methods? Ans. Because ISEs are susceptible to several interferences, therefore, TISAB serves to adjust the ionic strength and the pH. 8) Molecular spectrophotometric methods are more complicated than atomic spectrometric methods? Ans. because most of the reagents make complexes with metals, or interferences has more appears in Molecular spectrophotometric. U.V. lamp is used as source of radiation in fluorimetry? Ans. to give more intensity radiation to the process which makes the method more sensitive. 10) Graphite furnace AAS provide an increase in sensitivity and improved safety compared to flame-AAS? Ans. Because in graphite furnace AAS samples atomized by electro-thermal and not flame, but in flame AAS may be cause backfire and explosive in addition the flame zone may has different temp. region. 11) Nephelometry is more sensitive than turbidimetry? Ans. Because in Neph.,N , can be measured independently of the power of the source,P0, in contrast, Tur. measurement requires evolution of both P0 and P because T (Turbidity) is proportional to conc. is dependent upon the ratio of P0 & P [T = logP0/P = kbC; N = P90 = kCP0] 12) Self absorption sometimes affects the analysis in (FAES) flame atomic emission spectroscopy? Ans. In AES the type of flame is turbulent burner which has hot and cold places, in a very hot positions atoms are excited but in the cold positions the atoms are still in ground state, these atoms in the ground state has ability to absorb the emitted radiation from the excited atoms in the hot positions and form interferences. 13) Addition of low ionization compounds such as lithium to samples analyzed by atomic spectroscopy? 14) Luminol CL by H2O2 is known to be non-selective. 15) Nephelometry is more sensitive than turbidimetry. 16) Deviations will occur in Beer’s law. 17) Spectrophotometric method has poor selectivity. 18) UV & Vis spectrophotometry have somewhat limited application for qualitative analysis. 19) IR Spectroscopy is widely employed as an identification technique. 20) FTIR (Fourier Transform IR) instrumentation is more precise. Q.2// Give a list of common ions of environmental significance that can be analyzed by ion selective electrodes (ISE). Ans. Pollution Monitoring: CN, F, S, Cl, NO3 etc., in effluents, and natural waters. Agriculture: NO3, Cl, NH4, K, Ca, I, CN in soils, plant material, fertilisers and feedstuffs. Food Processing: NO3, NO2 in meat preservatives. Salt content of meat, fish, dairy products, fruit juices, brewing solutions. F in drinking water and other drinks. Ca in dairy products and beer. K in fruit juices and wine making. Corrosive effect of NO3 in canned foods. Detergent Manufacture: Ca, Ba, F for studying effects on water quality. Paper Manufacture: S and Cl in pulping and recovery-cycle liquors. Explosives: F, Cl, NO3 in explosive materials and combustion products. Q.3//Use a table to compare the similarities and differences between potentiometry, conductometry, and voltammetry. Consider the following comparisons: (a) The electrical measurement (e.g., current, potential, and charge), (b) The types of cells, (c) The fundamental equation employed for quantitative measurement, and (d) The ability for qualitative determination. Ans. a) e.g., current, potential, and charge; b) galvanic and electrolytic; c) Nernst, Faraday, and Ohm’s Potentiometry Conductometry Voltammetry Potential Charge Current Galvanic and/ or electrolytic Electrolytic Electrolytic Nernst equation Ohm’s equation Nernst equation Not used for qualitative Not used for qualitative used for qualitative by measuring E½ Q.4// How can you solve the following problems Use necessary diagrams, graphs and equations: i) Low selectivity of AES due to the chemical interferences. Ans. Some chemical reactions results a refractory oxide which is very stable and for this stable interferences atomization is difficult. e.g. for determination of Ca2+ ion in the presence of PO43- as interference a stable compound of Ca3(PO4)2 will be form. This problem can be solve by adding La3+ which is react with PO43- and Ca2+ remain free [(LaPO4) is produce because this compound is more stable than Ca3(PO4)2 and La3+ acts as releasing agent]. ii) Un-selectivity of the spectrophotometric reagents? Ans. by control of: either pH; or selecting a selective reagent; or change the oxidation state of the reagent. iii) Ionization in atomic spectroscopy? Ans. ionization: eq.1 MX ↔ M● + X● ↔ M* ↔ M+ + e ↔ M+* + e- atoms Excited ions lines Hotter atomization means: more ionzation; emission from interferents Using high energy for excitation the above reactions will occurs (form spectral line eq. 1). It must reverse eq.1 to form M* excited and not ion, this process occurs by addition of Li which has low ionization energy or it ionized easily and produce a number of electrons which react with ions M+* and return to form M*. Q.5// Describe the differences between the following and list any particular advantages possessed by one over the other: (? Marks) i) Photo tube and photomultiplier tube as detector. ii) Spectrophotometers and photometers. Q.6// A) Distinction between: (? Marks) i) Techniques and methods. ii) Accuracy and Precision. iii) Spectroscopy and Spectrometry. B) Draw the block diagram for the overall process of instrumental measurements, Give example. (? Marks) C) Define the following (give suitable equations, figures, etc.): (? Marks) i) Analytical sensitivity. ii) Recovery. iii) Detection limit. Q.7// A compound of formula weight 280 g/mole absorbed 65% of the radiation at a certain wavelength in a 2.0 cm cell at a concentration of 15.0 µg/ml. Calculate the molar absorptivity at the wavelength. (? Marks) Q.8// An 8.64 ppm solution of FeSCN2+ has a transmittance of 0.295 when measured in a 1.0 cm cell at 580 nm. Calculate the molar absorptivity for the complex at this wavelength. (? Marks) Q.9// What are the advantages and disadvantages of measuring maximum CL intensity? (? Marks) Q.10// Write similarities and differences for both: i) colorimeter and turbidimeter; ii) flourimetry and nephelometry. (? Marks) 2. True or false type of exams: Q.11// State the true or false from the following and correct the false: (? Marks) 1- Turbidimetric or nephelometric methods are widely used in the analysis of water. True 2- There are two types of burners: a) Nebulizer; b) atomizer. False; a) turbulent flow burner (total combustion) and b) laminar flow burner (premixed). 3- AAS has lower selectivity than AES. False; AAS has higher selectivity. 4- Turbidimetry is more sensitive than Nephelometry. False; Turbidimetry is less sensitive than Nephelometry. 5- Spectrophotometer is more sensitive than spectrofluorometer. False; spectrofluorometer is more sensitive than Spectrophotometer; Spectrophotometer is less sensitive than spectrofluorometer. 6- Chemiluminescence is the production of light due to biological reaction. False; CL is the production of light due to chemical reaction. 7- In graphite furnace AAS samples are atomized by flame atomization. False; In graphite furnace AAS samples are atomized by electrical power (non flame). 8- All organic compounds are capable of absorbing electromagnetic radiation because all contain carbon and hydrogen atoms. False; because all contain σ and pai 9- The F- ion selective electrode is selective at pH > 8.0. False; is selective at pH 5-8. 10- In Nephelometry and Turbidimetry, the intensity of radiation appearing at any angle depends upon the number of particles only. False; not only, depends on number, size, shape. 11- Determination of nitrogen oxides bases on the reaction with ozone is an example of liquid-phase CL. False; is an example of gas CL. 12- U.V. and Vis-spectrophotometry have somewhat limited application for qualitative analysis because deviation occurs in Beer’s law. False; because the number of absorption maxima and minima are relatively few. 13- Chemiluminesence reaction between sulfur dioxide and oxygen atoms are a suitable example of liquid-phase CL. False; is an example of gas CL. 14- If the radiation includes two wavelengths (λ1 & λ2) the Beer’s law is apply for each independently; if Є1 > Є2, the relation between A and C is normal straight relation. False; the relation between A and C is normal straight relation when Є1 = Є2. Q.12// Which of the following pairs of compounds is likely to absorb radiation at the longer wavelength? (? Marks) 1) acetone (CH3COCH3) or 2-butanone (CH3COCH2CH3)? Ans. Give similar spectra in shape and intensity. 2) benzene (C6H6) or naphthalene (C10H8)? Ans. Naphthalene have increased conjugation and so absorb at longer wavelengths than benzene. 3) CH3CH2COOH or CH2 = CHCOOH? Ans. CH2 = CHOOH has absorb radiation at the longer wavelength due to the double bonds. 4) CH3CH2CNS or SNCCH2CH2CH2CNS? Ans. Absorption maximum due to the CNS group occurs at 245 nm with ɛ of 800 (1st molecule), in the 2nd molecule גmax = 247 nm with ɛ=2000 Q.13// Fill the following spaces: (? Marks) 1- X-rays causes the excitation of the Core electron. 2- X-rays are define as short wavelength electromagnetic radiation produced by the deceleration of high energy electrons or by electronic transitions involving electrons in the inner orbital or atoms. 3- AAS used in quantitative analysis by two ways: i) direct calibration; ii) standard addition 4- The major applications of X-ray spectroscopy is for qualitative analysis in the field of medical imaging, airport security, and inspecting industrial welds. (or elemental analysis). 5- Electro-thermal atomizer devices generally provide an enhanced sensitivity. 6- In graphite furnace AAS, samples are atomized by electro-thermal atomization. 7- Spectral interference in FAES causes to decrease the selectivity of the method. 8- Turbidimetric or nephelometric methods are widely used in the analysis of water. 8- Derivative spectroscopy applied in the uv and vis-regions for ……………………. 9- The absorbing groups in a molecule are called …………………………………………… 10- Infrared Radiation uses are i) …………………….., ii) ……………………., and iii) ……. 11- Factors Affect Φfluor are i)……………………., ii) …………………., iii) ……………………… iv) ……………………………… ., v) …………………………..……… and vi) ……….………………………. 12- The most applications of fluorescence methods are for …………………….., and ………………………….. 13- The most applications of scattering methods are i) ……………………………………, ii) ……………………………….., and iii) …………………………………….. 14- Complete the following tables: (? Marks) № 𝝀 (cm) 𝝊 (Sec-1) ῡ(cm-1) a)) 4.5x10-5 ………. ………. b)) ………. 3x1013 ………. c)) ………. ………. 1x108 3. Multiple choices: Q.14// Choose the correct answer from the following: (? Marks) 1) Spectrofluorometer is more sensitive than spectrophotometer, because: a) Spectrofluorometer has a filter as wavelength selector. b) Spectrofluorometer has a tungsten lamp. c) Spectrofluorometer can be used for determination of organic species only. d) Non of them. 2) Chemiluminesence reaction between sulfur dioxide and oxygen atoms are a suitable example of: a) Gas-phase CL. b) Liquid-phase CL. c) Solid-phase CL. d) Non of them. 3) In Nephelometry and Turbidimetry, the intensity of radiation appearing at any angle depends upon: a) Number of particles. b) Size and shape of particles. c) Relative refractive indexes of the particles. d) All of them. 4) Chemiluminescence is: a) the production of light due to biological reaction. b) the production of light due to chemical reactions. c) the production of gases from atmosphere. d) non of them. 5) Determination of nitrogen oxides bases on the reaction with ozone is: a) an example of liquid-phase CL. b) an example of solid-phase CL. c) an example of gas-phase CL. d) non of them. 6) Turbidimetry and Nephelometry are based upon: a) the emission of radiation by a solution. B) the absorption of radiation by a solution. c) the scattering of radiation by a solution. D) all of them. 7) Chemiluminesence reaction between luminol and hydrogen peroxide in basic medium are a suitable example of: a) Liquid-phase CL. b) Solid-phase CL. c) Gas-phase CL. d) Non of them. 8) If the radiation includes two wavelengths (λ1 & λ2) the Beer’s law is apply for each independently; if Є1 > Є2, the relation between A and C is: a) normal straight relation. b) positive deviation occurs. c) negative deviation occurs. d) all of them. 9) U.V. and Vis-spectrophotometry have somewhat limited application for qualitative analysis because: a) deviation occurs in Beer’s law. b) the number of absorption maxima and minima are large. c) the number of absorption maxima and minima are relatively few. d) all of them. |
| 20. Extra notes: 1) This course is suitable for the 4th year students (B.Sc.), it’s very difficult for the 2nd year B.Sc. 2) This course is useful in different fields to get works in private sector. |
| 21. Peer review |