## Slide 1
1
Test No.: 4
The Most Probable Number Method
To envision the theoretical basis for the Most Probable Number (MPN) Method, think of a ten-fold dilution series being made of a water sample with one ml of each dilution being inoculated into a separate tube of an all-purpose broth medium.
After incubation, the broth tubes are observed for the presence or absence of growth. Theoretically, if at least one organism had been present in any of the inoculate, visible growth should be seen for that particular tube. If the broth inoculated from the 10–3 dilution shows growth, but the broth from the 10–4 does not, it is then possible to say that there were greater than 1X103 organisms per ml of the original sample but
.
To increase the statistical accuracy of this type of test, more than one broth tube can be inoculated from each dilution. Standard MPN procedures use a minimum of 3 dilutions and 3, 5 or 10 tubes per dilution. The statistical variability of bacterial distribution is better estimated by using as many tubes as possible or practical. After incubation, the pattern of positive and negative tubes is noted, and a standardized MPN Table is consulted to determine the most probable number of organisms (causing the positive results) per unit volume of the original sample.
In the following example, a set of 3 tubes of an all purpose broth medium is inoculated from each of the ten-fold dilutions, with each tube being inoculated with one ml.
After incubation, the number of tubes showing growth is recorded. As the succeeding dilutions were made, the organisms were diluted to such an extent that none were in the inoculate of seven of the tubes (marked negative). In order to estimate the number of organisms per ml of the sample which would cause this kind of growth response, we locate the three sets of tubes which show dilution of the organisms "to extinction" – i.e., those tubes which were inoculated from the 10–2, 10–3 and 10–4 dilutions.
The Neapolitan ice cream-colored table running along the right-hand side of the screen is the 3-tube MPN Table we have been using in our courses for decades (original source
unknown). The heading of the last column tells us that this combination of results (in order: 3-2-0)
suggests an average of 0.93 organisms being inoculated into each of the tubes of the middle set (of the three sets of tubes chosen) – i.e., those inoculated with one ml of a 10–3 dilution. Therefore, the most- probable number of organisms per one ml of the original, undiluted sample would be 0.93 X 103 or 9.3 X 102.
This method, with the associated table, only works if there is a succession of 1/10 dilutions being tested (in an appropriate medium) for growth, and the tubes chosen to compare with the table are in consecutive order of increasing dilution.

## Slide 2
2
Here are a couple examples of MPN problems.
I. (based on a problem from Bacteriology 102) From a water sample obtained from beautiful Lake Splammo, you inoculated 10 ml into 90 ml of sterile diluent; this is the "first dilution" indicated in the table below. After thorough mixing, 1 ml of this dilution was added to 99 ml of sterile diluent, and a third dilution was made the same way. From each of these dilutions, tubes of Glucose Fermentation Broth were inoculated with amounts as shown in the table below. After appropriate incubation, the tubes were checked for growth and acid production, and the data are summarized below. and acid production, and the data are summarized below.
dilution of lake water | 1st dilution |  | 2nd dilution |  | 3rd dilution | 
 | (= 10–1) |  | (= 10–3) |  | (= 10–5) | 
amount inoculated into each of three tubes | 1 ml | 0.1 ml | 1 ml | 0.1 ml | 1 ml | 0.1 ml
of Glucose Fermentation Broth |  |  |  |  |  | 
set of tubes (designations used below) | A | B | C | D | E | F
no. of tubes showing growth | 3 | 3 | 3 | 3 | 2 | 0
no. of tubes showing acid production | 3 | 3 | 3 | 1 | 0 | 0
What was the most probable number of glucose-fermenters per ml of the original sample of water? Here is one way of finding the solution:
Choose the three consecutive sets of tubes that show "dilution to extinction" of glucose-fermenting organisms – i.e., sets C, D and E. We can indicate "3-1-0" to represent the number of positive tubes.
Checking the MPN table, 3-1-0 indicates that an average of 0.43 organism (causing the determining reaction) was inoculated into each of the tubes in the middle set (D) – i.e., the tubes inoculated with 0.1 ml of the 10–3 dilution. (As a side note, the so-called "plated dilution" would then be 10–4 and the "dilution factor" would be 104.
Using basic math, if 0.43 was in 0.1 ml of the 10–3 dilution, this is equivalent to 4.3 being in 1 ml
of the same 10–3 dilution.
Therefore the most-probable number of glucose-fermenting organisms per ml of the original, undiluted sample was 4.3 X 103.
An alternate (easier) method would be to multiply the MPN value from the table (0.43) by the dilution factor of the "D" set of tubes which is 104. The result is the same: 0.43 X 104 = 4.3 X 103.

## Slide 3
3
No. of Tubes Positive in |  |  | MPN in the inoculums of the middle set of tubes
first set | middle set | last set | 
0 | 0 | 0 | ‹0.03
0 | 0 | 1 | 0.03
0 | 0 | 2 | 0.06
0 | 0 | 3 | 0.09
0 | 1 | 0 | 0.03
0 | 1 | 1 | 0.061
0 | 1 | 2 | 0.092
0 | 1 | 3 | 0.12
0 | 2 | 0 | 0.062
0 | 2 | 1 | 0.093
0 | 2 | 2 | 0.12
0 | 2 | 3 | 0.16
0 | 3 | 0 | 0.094
0 | 3 | 1 | 0.13
0 | 3 | 2 | 0.16
0 | 3 | 3 | 0.19
1 | 0 | 0 | 0.036
1 | 0 | 1 | 0.072
1 | 0 | 2 | 0.11
1 | 0 | 3 | 0.15
1 | 1 | 0 | 0.073
1 | 1 | 1 | 0.11
1 | 1 | 2 | 0.15
1 | 1 | 3 | 0.19
1 | 2 | 0 | 0.11
1 | 2 | 1 | 0.15
1 | 2 | 2 | 0.2
1 | 2 | 3 | 0.24
1 | 3 | 0 | 0.16
1 | 3 | 1 | 0.2
1 | 3 | 2 | 0.24
1 | 3 | 3 | 0.29
No. of Tubes Positive in |  |  | MPN in the inoculums of the middle set of tubes
first set | middle set | last set | 
2 | 0 | 0 | 0.091
2 | 0 | 1 | 0.14
2 | 0 | 2 | 0.2
2 | 0 | 3 | 0.26
2 | 1 | 0 | 0.15
2 | 1 | 1 | 0.2
2 | 1 | 2 | 0.27
2 | 1 | 3 | 0.34
2 | 2 | 0 | 0.21
2 | 2 | 1 | 0.28
2 | 2 | 2 | 0.35
2 | 2 | 3 | 0.42
2 | 3 | 0 | 0.29
2 | 3 | 1 | 0.36
2 | 3 | 2 | 0.44
2 | 3 | 3 | 0.53
3 | 0 | 0 | 0.23
3 | 0 | 1 | 0.39
3 | 0 | 2 | 0.64
3 | 0 | 3 | 0.95
3 | 1 | 0 | 0.43
3 | 1 | 1 | 0.75
3 | 1 | 2 | 1.2
3 | 1 | 3 | 1.6
3 | 2 | 0 | 0.93
3 | 2 | 1 | 1.5
3 | 2 | 2 | 2.1
3 | 2 | 3 | 2.9
3 | 3 | 0 | 2.4
3 | 3 | 1 | 4.6
3 | 3 | 2 | 11
3 | 3 | 3 | ›24