Ex. No. 4:

Marcet`s Boiler

Objective (Aim):

To show and study the relation between the pressure and temperature of saturated steam

Apparatus (Device) Name: (Marcet Boiler)

Introduction:

The Marcet Boiler is used to investigate the relationship between the pressure and the temperature of saturated steam in equilibrium with water at all temperature levels between the atmospheric pressure and 8 bars. The experimental slope (dT/dP)sat obtained is compared to the theoretical value determined through calculation from the steam table by the Clausius-Clapeyron equation.

Theory:

At a given pressure, the temperature at which a pure at which a pure substance change its phase is called saturation temperature. Analogously at pure substance change its phase is called the saturation pressure

This experiment explores the relationship between the saturation temperature and its corresponding pressure for water. When the water in the boiler is heated up it starts to evaporate a evaporate a more water changes it`s phase from liquid to vapor. More water changes it`s phase from liquid to vapor. More vapors accumulate inside the boiler vessel and increase the vessel and increase the pressure imposed on the water surface. The pressure build up tends imposed on the water surface. The pressure build up tends to   to increase the resistance faced by liquid up molecules as the resistance faced by liquid up molecules as they change in to vapor. Consequently increasing the saturation pressure of the remaining liquid .Absolute pressure of steam is the sum of the gauge pressure pressure and the atmospheric pressure average value of saturated temperature for each gauge pressure is the mean value of saturated measured during heating and cooling.

Procedures:

- Connect the unit to the power supply to provide a heating rate of 2kW to the electrical heater.

- Open the level valve open and switch on the power supply.

- Wait for the steam output through the level valve to ensure that there is no air trapped in the boiler.

- Close the level valve and continue heating until the maximum gauge pressure reaches 8 bars.

- Warning: Don't remove filler plug or open level valve when the device is pressurized.

- Record all temperature readings at different pressure settings of the boiler when the boiler is heated and cooled.

Calculation:

The Clausius-Clapeyron states:

hfg = hg - hf               and

vfg = vg -vf

in which, 	vf   = specific volume of saturated liquid

vg  = specific volume of saturated vapor

hf  = enthalpy of saturated liquid

hg  = enthalpy of saturated vapor

hfg = latent heat of vaporization

Name of Student:

Group		  :

Date			  :

Atmospheric pressure	: _____________ bar

Atmospheric temperature	: _____________ (0C)

Table 1: Data Collected and Calculated Results

| Pressure, P (bar) | Saturated Temperature (K) | Temperature, T | Temperature, Tsat (K) | Measured Slope, dT/dP | Calculated Slope, Tvg/hfg | Error = Tavg –Tsat. |
| --- | --- | --- | --- | --- | --- | --- |
| Gauge (bar) | Absolute (bar) |  | Increase (0C) | Decrease (0C) | Average Tavc (0C) | Average Tavg (K) |  |  |  |  |
| 0 |  |  |  |  |  |  |  |  |  |  |
| 1 |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |

Graph:

- Plot P versus dT/dP and Tvg/hfg on a same graph.

- Plot P versus Tavg. and Tsat. on a same graph.

Discussion and recommendation:

- Complete Table 1 attached.

- Compare and discuss the graph plotted from experiment data to that of the calculated data.

- Discuss any discrepancy and sources of error of the experiment.

- Why is it necessary to ensure no air trapped within the device at the beginning of the experiment?

- Discuss the liquid and vapor behavior observed through the experiment and list some examples of its industrial applications.