- What’s burnt clay bricks.

- Explain using sketches the function of ties in walls.

- Give three difference between confined and unconfined masonry systems.

- Explain three main elements of a confined building.

- What is the purpose of horizontal and vertical ties?

- Why there is no openings in masonry shear walls.

- Plot the positions of shear walls in a masonry building.

- Give size of wall openings.

- Draw the distributions of openings in a building.

- What is the net surface of concrete block.

- Difference between hollow and solid block.

- Explain a simple quality test for fresh concrete.

- Write a simple test for the quality of sand.

- explain a quick test of concrete consistency.

- Show three types of strip footing in a Sketch.

- In a simple building show the positions of horizontal and vertical ties.

- Plot a figure showing the stirrup spacing on vertical ties.

- Explain the recommenced minimum vertical tie dimensions with 45o stirrups.

- Show in a figure the spacing of stirrups near vertical ties.

- What is the minimum dimensions of plinth.

- Why anchoring rebar is important.

- Draw a figure showing rebar ends bent outward.

- What’s the function of spacers.

- Why masonry units must be staggered.

- illustrated the following bonds: English bond, staggered bond.

- demonstrate the details of dowels in : (a) blocks, (b) bricks.

- Illustrated graphically how mortar and bricks are placed.

- Write the maximum height of wall constructed in one day.

- How do you place conduits in a masonry wall.

- How do you integrate big pipes into walls.

- What’s meant by seismic bands.

- Whats the correct way of placing the vertical ties and columns.

- What are the two conditions for increasing the length of shear walls in the facade.

- How do you create shear walls for the building shown below.

- What is seismic bands.

- The difference between seismic bands and tie beams.

- Show the reinforcement details for a two-way stair case.

- How do you open up existing corner connections.

- Sketch the integration of connection bars into new plinth beams.

- Calculate the ceiling area for each floor for the building shown below, built with 20cm hollow block units. Given that the shear wall percentage for hollow concrete blocks: at ground floor 4%, at upper floor= 2%.

- Explain situations requiring the common form of loading and calculations checks.

- Tabulate the indicative design working life.

- Tabulate the types of action.

- write the load combinations for a shear wall.

- Illustrate the wind load check on load bearing wall.

- Illustrate the load check on internal load bearing wall.

- demonstrate wind load check on non-load bearing cladding panel.

- Explain how the characteristic strength of masonry (fk) can be determined.

- Define masonry unit.

- List the types of masonry units.

- How masonry belongs to a group.

- Sketch a figure showing the extent of relative zones will be affected by macro climate.

- Draw the effective height of stiffened walls.

- Show the minimum requirement for assuming support to vertical ages of load bearing walls.

- How the load is distributed in walls subjected to concentrated loads.

- For the following wall determine the , given the following details: wall:1by 3m, load 2 ton. Determine the distance from the top of wall to effective length of bearing.

- Draw basic configurations of a structural reinforced masonry wall.

- List the fired masonry units.

- What is masonry accessory materials.

- Define connectors.

- Use of a sealant.

- Explain flashing.

- Use of coatings.

- What is the function of moisture barrier.

- draw the orientations of masonry units in an element.

- What is the difference between running bond and 1/3 running bond.

- What is Flemish bond.

- Describe the type of walls (according to water penetration resistance.

- Sketch four types of walls.

- What are the main compounds of cement powder.

- What is Retentivity.

- Describe the Manufacturing of Clay Masonry Units.

- Sketch three typical bed joint reinforcement.

- Draw typical use of post tensioning tendons in wall.

- Plot typical veneer ties.

- Show typical connectors.

- Describe the types of joints.

- Sketch the locations of control joints in: CMU, clay Wythe (loose and fixed lintels).

- Draw details of reinforcement in clay masonry lintel.

- Sketch a figure showing details of reinforcement in masonry wall made of hollow units.

- Check the design of (Single-Wythe Panel Wall using Solid Units: 8x8x16in) shown in Figure below, for a wind load w of 20 lb/ft2 , using PCL mortar, Type N, and units with a nominal thickness of 8 in.

- Check the design of (Single-Wythe Panel Wall using hollow Units) shown in Figure below for a wind load w of 20 lb/ft2 , using PCL mortar, Type N, and units with a nominal thickness of 8 in.

- Unreinforced Bearing Wall with Concentric Axial Load The bearing wall shown in Fig. 5.12 has an unfactored, concentric axial load of 1050 lb/ft. Using hollow concrete masonry units with face-shell bedding, design the wall. the following loading combinations must be checked for strength design: 1. 1.2D +

1.6W + f 1 L + 0.5 (Lr or S or R) 2. 0.9D + 1.6W + 1.6H.

- What’s engineering brick.