UNITUNIT1 4

Fundamentals of Illumination

INTRODUCTION

Study of illumination engineering is necessary not only to understand the principles of light control as applied to interior lighting design such as domestic and factory lighting but also to understand outdoor applications such as highway lighting and flood lighting. Nowaday, the electrically produced light is preferred to the other source of illumination because of an account of its cleanliness, ease of control, steady light output, low cost, and reliability. The best illumination is that it produces no strain on the eyes. Apart from its esthetic and decorative aspects, good lighting has a strictly utilitarian value in reducing the fatigue of the workers, protecting their health, increasing production, etc. The science of illumination engineering is therefore becoming of major importance.

Nature of light

Light is a form of electromagnetic energy radiated from a body and human eye is capable of receiving it. Light is a prime factor in the human life as all activities of human being ultimately depend upon the light.

Various forms of incandescent bodies are the sources of light and the light emitted by such bodies depends upon their temperature. A hot body about 500–800°C becomes a red hot and about 2,500–3,000°C the body becomes white hot. While the body is red-hot, the wavelength of the radiated energy will be sufficiently large and the energy available in the form of heat. Further, the temperature increases, the body changes from red-hot to white-hot state, the wavelength of the radiated energy becomes smaller and enters into the range of the wavelength of light. The wavelength of the light waves varying from 0.0004 to 0.00075 mm, i.e. 4,000-7,500 Å (1 Angstrom unit = 10–10 mm).

The eye discriminates between different wavelengths in this range by the sensation of color. The whole of the energy radiated out is not useful for illumination purpose. Radiations of very short wavelength varying from 0.0000156 × 10–6m to 0.001 × 10–6 m are not in the visible range are called as rontgen or x-rays, which are having the property of penetrating through opaque bodies.

TERMS USED IN ILLUMINATION

The following terms are generally used in illumination.

Color: The energy radiation of the heated body is monochromatic, i.e. the radiation of only one wavelength emits specific color. The wavelength of visible light lies between

4,000 and 7,500 Å. The color of the radiation corresponding to the wavelength is shown in Fig. 6.1.

Fig. Wavelength

Relative sensitivity: The reacting power of the human eye to the light waves of different wavelengths varies from person to person, and also varies with age. The average relative sensitivity is shown in Fig. 6.2.

Fig. 6.2 The average relative sensitivity

The eye is most sensitive for a wavelength of 5,500 Å. So that, the relative sensitivity according to this wavelength is taken as unity.

Referred from Fig. 6.1, blue and violet corresponding to the short wavelengths and red to the long wavelengths, orange, yellow, and green being in the middle of the visible region of wavelength. The color corresponding to 5,500 Å is not suitable for most of the applications since yellowish green. The relative sensitivity at any particular wavelength (λ) is known as relative luminous factor (Kλ).

Light: It is defined as the radiant energy from a hot body that produces the visual sensation upon the human eye. It is expressed in lumen-hours and it analogous to watt-hours, which denoted by the symbol ‘Q’.

Luminous flux: It is defined as the energy in the form of light waves radiated per second from a luminous body. It is represented by the symbol ‘φ’ and measured in lumens.

Ex: Suppose the luminous body is an incandescent lamp.

The total electrical power input to the lamp is not converted to luminous flux, some of the power lost through conduction, convection, and radiation, etc. Afraction of the remaining radiant flux is in the form of light waves lies in between the visual range of wavelength, i.e. between 4,000 and 7,000 Å, as shown in Fig. 6.3.

Fig. Flux diagram

Radiant efficiency

When an electric current is passed through a conductor, some heat is produced to I2R loss, which increases its temperature of the conductor. At low temperature, conductor radiates energy in the form of heat waves, but at very high temperatures, radiated energy will be in the form of light as well as heat waves.

‘Radiant efficiency is defined as the ratio of energy radiated in the form of light, produces sensation of vision to the total energy radiated out by the luminous body’.

Plane angle

A plane angle is the angle subtended at a point in a plane by two converging lines (Fig. 6.4). It is denoted by the Greek letter ‘θ’ (theta) and is usually measured in degrees or radians.

Fig. 6.4 Plane angle

One radian is defined as the angle subtended by an arc of a circle whose length by an arc of a circle whose length is equals to the radius of the circle.

Solid angle

Solid angle is the angle subtended at a point in space by an area, i.e., the angle enclosed in the volume formed by numerous lines lying on the surface and meeting at the point (Fig. 6.5). It is usually denoted by symbol ‘ω’ and is measured in steradian.

Fig. Solid angle

The largest solid angle subtended at the center of a sphere:

Relationship between plane angle and solid angle

Let us consider a curved surface of a spherical segment ABC of height ‘h’ and radius of the sphere ‘r’ as shown in Fig. 6.6. The surface area of the curved surface of the spherical segment ABC = 2πrh. From the Fig. 6.6:

Fig. Sectional view for solid angle

BD=OB–OD

From the Equation (6.3), the curve shows the variation of solid angle with plane angle is shown in Fig. 6.7.

Fig. 6.7 Relation between solid angle and plane angle

Luminous intensity

Luminous intensity in a given direction is defined as the luminous flux emitted by the source per unit solid angle (Fig. 6.8).

Fig. 6.8 Luminous flux emitting from the source

It is denoted by the symbol ‘I’ and is usually measured in ‘candela’.

Let ‘F’ be the luminous flux crossing a spherical segment of solid angle ‘ω’. Then

luminous intensity  lumen/steradian or candela.

Lumen: It is the unit of luminous flux.

It is defined as the luminous flux emitted by a source of one candle power per unit solid angle in all directions.

Lumen = candle power of source × solid angle.

Lumen = CP × ω

Total flux emitted by a source of one candle power is 4π lumens.

Candle power (CP)

The CP of a source is defined as the total luminous flux lines emitted by that source in a unit solid angle.

Illumination

Illumination is defined as the luminous flux received by the surface per unit area.

It is usually denoted by the symbol ‘E’ and is measured in lux or lumen/m2 or meter candle or foot candle.

Lux or meter candle

It is defined as the illumination of the inside of a sphere of radius 1 m and a source of 1 CP is fitted at the center of sphere.

Foot candle

It is the unit of illumination and is defined as the illumination of the inside of a sphere of radius 1 foot, and a source of 1 CP is fitted at the center of it.

We know that 1 lux = 1 foot candle = 1 lumen/(ft)2

Brightness

Brightness of any surface is defined as the luminous intensity pen unit surface area of the projected surface in the given direction. It is usually denoted by symbol ‘L’.

If the luminous intensity of source be ‘I’ candela on an area A, then the projected area is Acos θ.

The unit of brightness is candela/m2 or candela/cm2 or candela/(ft)2.

Relation between I, E, and L

Let us consider a uniform diffuse sphere with radius r meters, at the center a source of 1 CP, and luminous intensity I candela.

Mean horizontal candle power (MHCP)

MHCP is defined as the mean of the candle power of source in all directions in horizontal plane.

Mean spherical candle power (MSCP)

MSCP is defined as the mean of the candle power of source in all directions in all planes.

Mean hemispherical candle power (MHSCP)

MHSCP is defined as the mean of the candle power of source in all directions above or below the horizontal plane.

Reduction factor

Reduction factor of the source of light is defined as the ratio of its mean spherical candle power to its mean horizontal candle power.

Lamp efficiency

It is defined as the ratio of the total luminous flux emitting from the source to its electrical power input in watts.

It is expressed in lumen/W.

Specific consumption

It is defined as the ratio of electric power input to its average candle power.

Space to height ratio

It is defined as ratio of horizontal distance between adjacent lamps to the height of their mountings.

Coefficient of utilization or utilization factor

It is defined as the ratio of total number of lumens reaching the working plane to the total number of lumens emitting from source.

Maintenance factor

It is defined as the ratio of illumination under normal working conditions to the illumination when everything is clean.

Its value is always less than 1, and it will be around 0.8. This is due to the accumulation of dust, dirt, and smoke on the lamps that emit less light than that they emit when they are so clean. Frequent cleaning of lamp will improve the maintenance factor.

Depreciation factor

It is defined as the ratio of initial illumination to the ultimate maintained illumination on the working plane.

Its values is always more than 1.

Waste light factor

When a surface is illuminated by several numbers of the sources of light, there is certain amount of wastage due to overlapping of light waves; the wastage of light is taken into account depending upon the type of area to be illuminated. Its value for rectangular area is 1.2 and for irregular area is 1.5 and objects such as statues, monuments, etc.

Absorption factor

Normally, when the atmosphere is full of smoke and fumes, there is a possibility of absorption of light. Hence, the total lumens available after absorption to the total lumens emitted by the lamp are known as absorption factor.

Reflection factor or coefficient of reflection

When light rays impinge on a surface, it is reflected from the surface at an angle of incidence shown in Fig. 6.9. A portion of incident light is absorbed by the surface.

Fig. Reflected ray

The ratio of luminous flux leaving the surface to the luminous flux incident on it is known as reflection factor.

Its value will be always less than 1.

Beam factor

It is defined as the ratio of ‘lumens in the beam of a projector to the lumens given out by lamps’. Its value is usually varies from 0.3 to 0.6. This factor is taken into account for the absorption of light by reflector and front glass of the projector lamp.

Example 6.1: A 200-V lamp takes a current of 1.2 A, it produces a total flux of 2,860 lumens. Calculate:

- the MSCPofthe lamp and

- the efficiency of the lamp.

Solution:

Given V = 200 V

I = 1.2 A, flux = 2,860 lumens.

Example 6.2: A room with an area of 6 × 9 m is illustrated by ten 80-W lamps. The luminous efficiency of the lamp is 80 lumens/W and the coefficient of utilization is 0.65. Find the average illumination.

Solution:

Room area = 6 × 9 = 54 m2.

Total wattage = 80 × 10 = 800 W.

Total flux emitted by ten lamps = 80 × 800 = 64,000 lumens.

Flux reaching the working plane = 64,000 × 0.65 = 41,600 lumens.

Example 6.3: The luminous intensity of a lamp is 600 CP. Find the flux given out. Also find the flux in the hemisphere containing the source of light and zero above the horizontal.

Solution:

Flux emitted by source (lumen)

- Intensity (I) × solid angle (ω)

- 600 × 2 π = 3,769.911 lumens

- Flux emitted in the lower hemisphere = 3,769.911 lumens.

Example 6.4: The flux emitted by 100-W lamp is 1,400 lumens placed in a frosted globe of 40 cm diameter and gives uniform brightness of 250 milli-lumens/m2 in all directions. Calculate the candel power of the globe and the percentage of light absorbed by the globe.

Solution:

Flux emitted by the globe

- brightness × globe area

- 1,256.63 lumens

Flux absorbed by the globe

- flux emitted by source – flux emitted by globe

- 1,400 – 1,256.63

- 143.36 lumens.

Example 6.5: A surface inclined at an angle 40° to the rays is kept 6 m away from 150 candle power lamp. Find the average intensity of illumination on the surface.

Solution:

From the Fig. P.6.1:

- = (90° – 40°) = 50°.

- Average illumination:

Fig. P.6.1

LAWS OF ILLUMINATION

Mainly there are two laws of illumination.

- Inverse square law.

2.	Lambert's cosine law.

Inverse square law

This law states that ‘the illumination of a surface is inversely proportional to the square of distance between the surface and a point source’.

Proof:

Let, ‘S’ be a point source of luminous intensity ‘I’ candela, the luminous flux emitting from source crossing the three parallel plates having areas A1 A2, and A3 square meters, which are separated by a distances of d, 2d, and 3d from the point source respectively as shown in Fig. 6.10.

Fig. 6.10 Inverse square law

Luminous flux reaching the area A1 = luminous intensity × solid angle

- Illumination 'E1' on the surface area 'A1' is:

Similarly, illumination 'E2' on the surface area A2 is:

and illumination ‘E3’ on the surface area A3 is:

From Equations (6.5), (6.6), and (6.7)

Hence, from Equation (6.8), illumination on any surface is inversely proportional to the square of distance between the surface and the source.

Lambert's cosine law

This law states that ‘illumination, E at any point on a surface is directly proportional to the cosine of the angle between the normal at that point and the line of flux’.

Proof:

While discussing, the Lambert's cosine law, let us assume that the surface is inclined at an angle ‘θ’ to the lines of flux as shown in Fig. 6.11.

Fig. 6.11 Lambert's cosine law

Let

PQ =	The surface area normal to the source and inclined at ‘θ’ to the vertical axis.

RS =  The surface area normal to the vertical axis and inclined at an angle θ to the source

‘O’.

Therefore, from Fig. 6.11:

From Fig. 6.11(b):

Substituting ‘d' from the above equation in Equation (6.10):

where d is the distance between the source and the surface in m, h is the height of source from the surface in m, and I is the luminous intensity in candela.

Hence, Equation (6.11) is also known as ‘cosine cube’ law. This law states that the ‘illumination at any point on a surface is dependent on the cube of cosine of the angle between line of flux and normal at that point’.

Note:

*From the above laws of illumination, it is to be noted that inverse square law is only applicable for the surfaces if the surface is normal to the line of flux. And Lambert's cosine law is applicable for the surfaces if the surface is inclined an angle ‘θ’ to the line of flux.

Example 6.6: The illumination at a point on a working plane directly below the lamp is to be 60 lumens/m2. The lamp gives 130 CP uniformly below the horizontal plane. Determine:

- The height at which lamp is suspended.

- The illumination at a point on the working plane 2.8 m away from the vertical axis of the lamp.

Solution:

Given data:

Candle power of the lamp = 130 CP.

The illumination just below the lamp, E = 60 lumen/m2.

- From the Fig. P.6.2, the illumination just below the lamp, i.e., at point A:

- The illumination at point ‘B':

Fig. P.6.2

Example 6.7: A lamp having a candle power of 300 in all directions is provided with a reflector that directs 70% of total light uniformly on a circular area 40-m diameter. The lamp is hung at 15 m above the area.

- Calculate the illumination.

  - Also calculate the illumination at the center.

  - The illumination at the edge of the surface without reflector.

Solution:

Given data:

Candle power of the lamp = 300 CP.

Circular area diameter (D) = 40 m.

Height of mounting = 15 m.

- The illumination on the circular area (Fig. P.6.3):

Fig. P.6.3

- The illumination at the center with reflector 70%:

- The illumination at the edge without reflector:

Example 6.8: The luminous intensity of a source is 600 candela is placed in the middle of a 10 × 6 × 2 m room. Calculate the illumination:

- At each corner of the room.

- At the middle of the 6-m wall.

Solution:

Given data:

Luminous intensity, (I) = 600 cd.

Room area = 10 × 6 × 2 m.

- From the Fig. P.6.4:

∴ The illumination at the corner ‘B':

Fig. P.6.4

2.	From Fig. P.6.5:

Fig. P.6.5

The illumintaion at the point ‘P’,

Example 6.9: The candle power of a source is 200 candela in all directions below the lamp. The mounting height of the lamp is 6 m. Find the illumination:

- Just below the lamp.

- 3 m horizontally away from the lamp on the ground.

- The total luminous flux in an area of 1.5-m diameter around the lamp on the ground.

Solution:

The candle power of the source, I = 200 candela.

Mounting height (h) = 6 m.

- The illumination just below the lamp, i.e., at point 'A':

2.	From Fig. P.6.6:

Fig. P.6.6

The illumination 3 m away from the lamp on the ground, i.e., at point ‘B’ (Fig.

P.6.7):

Fig. P.6.7

3.

The total flux reaching the area around the lamp:

- EA × surface area

- 5.55 × 1.767

- 9.80 lumens.

Example 6.10: Two sources of candle power or luminous intensity 200 candela and 250 candela are mounted at 8 and 10 m, respectively. The horizontal distance between the lamp posts is 40 m, calculate the illumination in the middle of the posts.

Solution:

From Fig. P.6.8:

Fig. P.6.8

The illumination at the point ‘P’ due to the source ‘S2’:

- The total illumination at ‘P’ due to both the sources S1 and S2 = E1+ E2

  - 0.159 + 0.2235

  - 0.3825 lux.

Example 6.11: Two sources of having luminous intensity 400 candela are hung at a height of 10 m. The distance between the two lamp posts is 20 m. Find the illumination (i) beneath the lamp and (ii) in the middle of the posts.

Solution:

Given data:

Luminous intensity = 400 CP.

Mounting height = 10 m.

Distance between the lamp posts = 20 m.

- From Fig. P.6.9:

Fig. P.6.9

The illumination at ‘B’ due to ‘S1’:

The illumination at ‘B’ due to ‘S2':

The illumination at ‘P’ due to S1 is:

The illumination at ‘P’ due to S2, ‘E2’ will be same as E1

- The illumination at ‘P’ due to both S1 and S2:

  - El+ E2 = El+ El

  - 2E1 = 2 × 1.414

    - 2.828 lux.

Example 6.12: In a street lighting, two lamps are having luminous intensity of 300 candela, which are mounted at a height of 6 and 10 m. The distance between lamp posts is 12 m. Find the illumination, just below the two lamps.

Solution:

- The illumination at ‘B’ = the illumination due to L1 + the illumination due to L2. FormFig.

P.6.10:

Fig. P.6.10

∴ The total illumination at ‘B’ due to the two lamps = 0.745 + 3 = 3.745 lux.

- The illumination at ‘A’ = the illumination due to L1+ the illumination due to L2.

- The total illumination at ‘A' due to both lamps = 0.786 + 8.33 = 9.116 lux.

Example 6.13: Four lamps 15 m apart are arranged to illuminate a corridor. Each lamp is suspended at a height of 8 m above the floor level. Each lamp gives 450 CP in all directions below the horizontal; find the illumination at the second and the third lamp.

Solution:

Given data:

Luminous intensity = 450 CP.

Mounting height = 8 m.

Distance between the adjacent lamps = 15 m (Fig. P.6.11).

Fig. P.6.11

The illumination at ‘P’ = the illumination due to L1 + the illumination due to L2

- the illumination due to L3 + the illumination due to L4.

The illumination at ‘P’ due to lamp ‘L2’ is:

Similarly, the illumination at ‘P’ due to the lamp L3 ‘E3’ = the illumination at ‘P’ due to the

lamp ‘L2’, ‘E2’,

and the illumination at ‘P’ due to the lamp L4, ‘E4’ = illumination at ‘P’ due to the lamp

‘L1’, ‘E1.'

- The total illumination at ‘P = E1+ E2 + E3+ E4

  - 2El + 2E2

  - 2(E1+ E2)

  - 2 (0.73 + 2.73)

  - 6.92 lux.

Example 6.15: Two lamps of each 500 CP are suspended 10 m from the ground and are separated by a distance of 20 m apart. Find the intensity of illumination at a point on the ground in line with the lamps and 12 m from the base on both sides of the lamps.

Solution:

Given data:

Luminous intensity, I = 500 CP.

Mounting height, h= 10 m.

Case (i):

From Fig. P.6.14:

Fig. P.6.14

Fig. P.6.15

The illumination at ‘P’ due to lamp L1 is:

The illumination at ‘P’ due to lamp L2 is:

- The total illumination at the point ‘P’ = E1 + E2

  - 1.3115 + 2.378

  - 3.689 lux.

Case (ii):

From Fig. P.6.15:

The illumination at ‘P’ due to lamp L1 is:

The illumination at ‘P’ due to the lamp ‘L2’ is:

- The total illumination at ‘P’ due to both lamps = E1+ E2

  - 1.3115 + 0.1326

  - 1.44 lux.

Example 6.16: Two similar lamps having luminous intensity 500 CP in all directions below horizontal are mounted at a height of 8 m. What must be the spacing between the lamps so that the illumination on the ground midway between the lamps shall be at least one-half of the illumination directly below the lamp.

Solution:

Given data:

The candle power of lamp, I = 600 CP.

The mounting height of lamps form the ground, H = 8 m.

Let, the maximum spacing between the lamps =x m.

From Fig. P.6.16:

Fig. P.6.16

The illumination at ‘C’ due to the lamp ‘L1’ is:

The illumination ‘E2’ at ‘C’ due to the lamp ‘L2’ is same as to ‘E1’.

- The total illumination at ‘C' due to the lamps, L1 and L2 is:

The illumination just below the lamp, L2 is:

EB = the illumination due to lamp L1 + the illumination due to lamp L2:

Example 6.17: Find the height at which a light source having uniform spherical distribution should be placed over a floor in order that the intensity of horizontal illumination at a given distance from its vertical line may be greatest.

Solution:

Let the luminous intensity of the lamp = ‘I’ CP.

The illumination at the point 'A’ due to source is:

But, from Fig. P.6.17:

Fig. P.6.17

Given that, the illumination at a point away from the base of lamp may be the greatest:

∴ h = 0.707x.

Example 6.18: A lamp of 250 candela is placed 2 m below a plane mirror that reflects 60% of light falling on it. The lamp is hung at 6 m above ground. Find the illumination at a point on the ground 8 m away from the point vertically below the lamp.

Solution:

Figure P.6.18 shows the lamp and the mirror arrangements. Here, the lamp ‘L’ produces an image ‘L’, then the height of the image from the ground = 8 + 2 = 10 m.

Fig. P.6.18

And L1 acts as the secondary sources of light whose candle power is equals to 0.85 ×

CP of the lamp ‘L’.

i.e., 0.85 × 250 = 212.5 CP.

- The illumination at the point ‘B’, ‘8’ m away from the lamp = illumination at ‘B’

due to L + the illumination at ‘B’ due to L1:

Example 6.19: A light source with an intensity uniform in all direction is mounted at a height of 20 ms above a horizontal surface. Two points 'A' and ‘B’ both lie on the surface with point A directly beneath the source. How far is B from A if the illumination at ‘B’ is only 1/15th as great as A?

Solution:

Let the luminous intensity of the lamp ‘L’ be ‘I’ candela and the distance of the point of illumination from the base of the lamp is ‘x’ m (Fig. P.6.19).

Fig. P.6.19

The illumination at the point 'A' due to the lamp ‘L’ is:

The illumination at the point 'B' due to the lamp ‘L’ is:

Example 6.20: Two similar lamps having uniform intensity 500 CP in all directions below the horizontal are mounted at a height of 4 m. What must be the maximum spacing between the lamps so that the illumination on the ground midway between the lamps shall be at least one-half the illuminations directly under the lamps?

Solution:

The candle power of the lamp = 500 CP (Fig. P.6.20).

Fig. P.6.20

The height of the lamps from the ground, h = 4 m.

Let the maximum spacing between the lamps be of ‘d’ meters.

The illumination at the point ‘C’ in between the lamp post

= 2 × Illumination due to either L1 or L2

The illumination just below the lamp L2 is:

EB = the illumination due to the lamp L1 + the illumination due to the lamp L2

Given:

- d = 9.56 m.

Example 6.21: A lamp with a reflector is mounted 10 m above the center of a circular area of 30-m diameter. If the combination of lamp and reflector gives a uniform CP of 1,200 over circular area, determine the maximum and minimum illumination produced.

Solution:

The mounting height of the lamp h = 10 m (Fig. P.6.21, P.6.22).

Fig. P.6.21

Fig. P.6.22

The diameter of the circular area = 30 m.

The candle power of the lamp I = 1,200 CP.

The maximum illumination occur just directly below the lamp, i.e., at point ‘C’ is:

Minimum Illumination will occur at the periphery of the circular area, i.e., at A (or) B.

Example 6.22: Two lamps hung at a height of 12 m from the floor level. The distance between the lamps is 8 m. Lamp one is of 250 CP. If the illumination on the floor vertically below this lamp is 40 lux, find the CP of the second lamp.

Solution:

Given data:

The candle power of the lamp, I = 250 CP.

The intensity of L1 illumination just below the lamp L1 = 40 lux.

Let CP of L2 = ICP.

- The illumination at the point A = the illumination due to the lamp L1 +the illumination due to the lamp L2:

POLAR CURVES

The luminous flux emitted by a source can be determined using the intensity distribution curve. Till now we assumed that the luminous intensity or the candle power from a source is distributed uniformly over the surrounding surface. But due to its s not

uniform in all directions. The luminous intensity or the distribution of the light can be represented with the help of the polar curves.

The polar curves are drawn by taking luminous intensities in various directions at an equal angular displacement in the sphere. A radial ordinate pointing in any particular direction on a polar curve represents the luminous intensity of the source when it is viewed from that direction. Accordingly, there are two different types of polar curves and they are:

- A curve is plotted between the candle power and the angular position, if the luminous intensity, i.e., candle power is measured in the horizontal plane about the vertical axis, called 'horizontal polar curve’.

- curve is plotted between the candle power, if it is measured in the vertical plane and the angular position is known as 'verticalpolar curve’.

Figure 6.12 shows the typical polar curves for an ordinary lamp.

Fig Polar curves

Depression at 180° in the vertical polar curve is due to the lamp holder. Slight depression at 0° in horizontal polar curve is because of coiled coil filament.

Polar curves are used to determine the actual illumination of a surface by employing the candle power in that particular direction as read from the vertical polar curve. These are also used to determine mean horizontal candle power (MHCP) and mean spherical candle power (MSCP).

The mean horizontal candle power of a lamp can be determined from the horizontal polar curve by considering the mean value of all the candle powers in a horizontal direction.

The mean spherical candle power of a symmetrical source of a light can be found out from the polar curve by means of a Rousseau's construction.

Rousseau's construction

Let us consider a vertical polar curve is in the form of two lobes symmetrical about XOX1 axis. A simple Rousseau's curve is shown in Fig. 6.13.

Fig. 6.13 Rousseau's curve

Rules for constructing the Rousseau's curve are as follows:

- Draw a circle with any convenient radius and with ‘O’ as center.

  - Draw a line 'AF’ parallel to the axis XOX1 and is equal to the diameter of the circle.

  - Draw any line ‘OPQ' in such a way that the line meeting the circle at point ‘Q’. Now let the projection be ‘R’ onto the parallel line 'AF’.

  - Erect an ordinate at ‘R’ as, RB = OP.

  - Now from this line 'AF' ordinate equals to the corresponding radius on the polar curve are setup such as SC = OM, TD = ON, and so on.

  - The curve ABC DEFA so obtained by joining these ordinates is known as Rousseau's curve.

The mean ordinate of this curve gives the mean spherical candle power (MSCP) of the lamp having polar curve given in Fig. 6.13.

The mean ordinate of the curve:

The area under the Rousseau's curve can be determined by Simpson's rule.

PHOTOMETRY

Photometry involves the measurement of candle power or luminous intensity of a given source. Now, we shall discuss the comparison and measurement of the candle powers.

The candle power of a given source in a particular direction can be measured by the comparison with a standard or substandard source. In order to eliminate the errors due to the reflected light, the experiment is conducted in a dark room with dead black walls and ceiling. The comparison of the test lamp with the standard lamp can be done by employing a photometer bench and some form of photometer.

Principle of simple photometer

The photometer bench essentially consists of two steel rods with 2- to 3-m long. This bench carries stands or saddles for holding two sources (test and standard lamps), the carriage for the photometer head and any other apparatus employed in making measurements. Graduated scale in centimeters or millimeters in one of the bar strips. The circular table is provided with a large graduated scale in degrees round its edge so that the angle of the rotation of lamp from the axis of bench can be measured.

The photometer bench should be rigid so that the source being compared may be free from vibration. The photometer head should be capable of moving smoothly and the photometer head acts as screen for the comparison of the illumination of the standard lamp and the test lamp.

The principle methods of measurement are based upon the inverse square law.

The photometer bench consists of two sources, the standard source ‘S’ whose candle power is known and the other source ‘T’ whose candle power is to be determined. The photometer head acts as screen is moved in between the two fixed sources until the illumination on both the sides of screen is same. A simple arrangement for the measurement of the candle power of the test source is shown in Fig. 6.14.

Fig. Measurement of candle power

If the distances of the standard source ‘S’ and the test source ‘T’ from the photometer head are L1 and L2, respectively, then, according to the inverse square law, if the illumination on both the sides of screen are equal then the candle power of the source is proportional to the square of the distance between the source and the photometer head.

The CP of standard source ∝ L12.

The CP of test source ∝ L22.

In order to obtain the accurate candle power of test source, the distance of the sources from the photometer head should be measured accurately.

Photometer heads

The photometer heads that are most common in use are:

- Bunsen grease spot photometer.

  - Lumer–Brodhun photometer.

  - Flicker photometer.

The first two are best suited for use, if the two sources to be compared give the light of same or approximately similar colors. Increase the light from the two sources to be compared differ in color, a flicker photometer is best suited.

(i) Bunsen grease spot photometer

Bunsen photometer consists of a tissue paper, with a spot of grease or wax at its center. It held vertically in a carrier between the two light sources to be compared. The central spot will appear dark on the side, having illumination in excess when seen from the other side. Then, the observer will adjust the position of photometer head in such a way that until the semitransparent spot and the opaque parts of the paper are equally bright then the grease spot is invisible, i.e., same contrast in brightness is got between the spot and the disc when seen from each sides as shown in Fig. 6.15. The distance of the photometer from the two sources is measured. Hence, the candle power of test source is then determined by using relation:

Fig. Bunsen grease spot photometer

The use of two reflecting mirrors above the photometer head makes it perhaps the accurate method, since the two sides of spot and position of the head can be viewed simultaneously.

(ii) Lumer-Brodhun photometer

There are two types of Lumen–Brodhun photometer heads.

- Equality of brightness type.

- Contrast type.

The Contrast type is more accurate and therefore, extensively used in the photometric measurements.

(a) Equality of brightness type photometer head

The photometer head essentially consists of screen made of plaster of Paris, two mirrorsM1and M2, glass cube or compound prism, and a telescope.

The compound prism made up of two right-angled glass prisms held together, one of which has sand blasted pattern on its face, i.e., principal surface as spherical with small flat portion at the center and the other is perfectly plain. A typical Lumer–Brodhun photometer head is shown in Fig. 6.16.

Fig. 6.16 Lumer–Brodhun photometer (equality of brightness)

The two sides of the screen are illuminated by two sources such as the standard and test lamps as shown in Fig. 6.16. The luminous flux lines emitting from the two sources

are falling on the screen directly and reflected by it onto the mirrors M1 and M2, which in turn reflects the same onto the compound prism.

The light ray reflected by M1 is passing through the plain prism and the light ray reflected byM2 is falling on the spherical surface of the other prism and is reflected again which pass through the telescope. Thus, observer view the center portion of the circular

area illuminated by the test lamp and the outer ring is illuminated by the standard lamp. The positioning of the photometer head is adjusted in such away that the dividing line between the center portion and the surrounding disappears. The disappearance of dividing line indicates the same type of color of the test lamp and the standard lamp.

Now, the distance of photometer head from the two sources are measured and the candle power or luminous intensity of test lamp can be calculated by using inverse square law.

(b) Contrast type photometer head

Similar to the equal brightness type photometer, it consists of a compound prism, which is made up of two right-angled glass prism. The joining surfaces of the two right-angled glass prisms are flat, but one of the prism has its hypotenuses surface etched away at A,B, and C to get pattern of the type shown in Fig. 6.17.

Fig. 6.17 Lumen–Brodhun photometer head (Contrast type)

As in case of equal brightness type, the light falling on the both sides of the screen passes through the unetched portion of the joining surface and gets reflected at the etched surfaces (A, B, and C). P and Q are the sheets of glass that give little reflected light to maintain the difference between the illuminations of both the etched and the unetched portions. If the illumination of the surfaces of the prism is different, then the etched portion will have difference in illumination as compared to unetched portion.

If the balance is got, the difference in illuminations of both etched and unetched portions are same and equal to half of the circular area; then, the photometer head is said to be in a balance position. When the balance position is altered, the difference or the contrast in the illumination of area ‘ C’ and its surrounding area decreases. In addition, the contrast illumination area AB and the inner trapezium will increase. Generally, in balanced position, the contrast is about 8%. The position of photometer head is adjusted in such a way that the equal contrast is obtained between the etched and the unetched portions. This contrast type of the head gives accuracy within 1%.

(iii) Flicker photometer

The flicker photometers are employed when two sources giving light of different colors to be compared. The color contrast between two lights do not affect their working is the unit feature of the flicker photometer. This is because the color contrast between the two alternating fields of the light disappears at a lower speed of alternation than does a contrast of brightness.

A typically used flicker photometer is a Simmance–Abady flicker photometer, where used rotating disc made up of plaster of Paris. The dick is in the form of a double-truncated cone as shown in Fig. 6.18. The truncated portions of cone are fitted together to form the disc. The disc is continuously rotated at the required minimum speed by small motor in between the two sources to be compared. Each half of the disc is illuminated from one source and the eye is presented with the two fields of the light to be compared alternately. When the two halves are having unequal illuminations a flicker appears. Now, the disc is rotated to that position where the flicker disappears. When the two halves of the disc are illuminated equally and then the candle power of the test source can be calculated by measuring the distances of the disc from the two sources in the usual manner.

Fig. 6.18 Flicker photometer

Discharge lamps

In this method, the application of suitable voltage, known as ignition voltage, across the two electrodes results in a discharge through the gas, this is accompanied by electromagnetic radiation.

Here, candle power, i.e., the color intensity of the light emitted depends upon the nature of the gas. These sources do not depend on the temperature for higher efficiencies.

Ex: Neon lamp, sodium vapor lamp, mercury vapor lamp, and florescent lamp.

SHORT QUESTIONS AND ANSWERS

- What is light?

It is defined as the radiant energy from a hot body that produces the visual sensation upon the human eye. It is expressed in lumen-hours and it analogous to watt-hours, which denoted by the symbol ‘Q’.

- Write the expression that shows the relation between solid angle and plane angle.

- States the inverse square law of illumination.

This law states that ‘the illumination of a surface is inversely proportional to the square of distance between the surface and a point source’.

4.	States the Lambert's cosine law of illumination.

This law states that ‘illumination, E at any pint on a surface is directly proportional to the cosine of the angle between the normal at that point and the line of flux’.

- Define the MSCP.

It is defined as the mean of the candle power of the source in all directions in horizontal plane.

6.	Define the MHCP.

It is defined as the mean of the candle power of the source in all directions in all planes.

- Define the MHSCP.

It is defined as the mean of the candle power of the source in all directions above or below the horizontal plane.

8.	What is the need of polar curves?

The luminous flux emitted by a source can be determined from the intensity distribution curve. But the luminous intensity or the candle power of any practical lamp is not uniform in all directions due to its unsymmetrical shape. The luminous intensity or the distribution of such sources can be determined by polar curves.

9.	List out the types of photometers used for the photometric measurements.

The photometer heads that are most common in use are:

- Bunsen grease spot photometer.

- Lumer–Brodhun photometer.

- Flicker photometer.

What is photometry?

Photometry means the measurement of the candle power or the luminous intensity of a given source. The candle power of any test source is measured with the comparison of a standard source.

List out the various photocells used for photometric measurements.

Generally used photocells for photometric measurements are:

- photo voltaic cell and

- photo emissive cell.

The photo voltaic cell is most widely used one because of its simplicity and associated circuits.

Define plane angle.

A plane angle is the angle subtended at a point in a plane by two converging lines. It is denoted by the Greek letter 'θ' (theta) and is usually measured in degrees or radians.

Define solid angle.

Solid angle is the angle subtended at a point in space by an area, i.e., the angle enclosed in the volume formed by numerous lines lying on the surface and meeting at the point. It is usually denoted by symbol ‘ω’, and is measured in steradian.

Define luminous flux.

It is defined as the energy in the form of light waves radiated per second from a luminous body. It is represented by the symbol ‘φ’ and measured in lumens.

Define luminous intensity.

Luminous intensity in a given dissection is defined as the luminous flux emitted by the source per unit solid angle.

Define illumination.

Illumination is defined as the luminous flux received by the surface per unit area.

Define lamp efficiency.

It is defined as the ratio of total luminous flux emitting from the source to its electrical power input in watts.

UNIT 5

Various Illumination Methods

INTRODUCTION

Light plays major role in human life. Natural light restricted for some duration in a day, it is very difficult to do any work by human being without light. So, it is necessary to have substitute for natural light. Light from incandescent bodies produced electrically, which playing important role in everyday life due to its controlled output, reliability, and cleanliness nowadays; various sources are producing artificial light. Each source has its own characteristics and specific importance.

TYPES OF SOURCES OF ILLUMINATION

Usually in a broad sense, based upon the way of producing the light by electricity, the sources of light are classified into following four types.

Electric arc lamps

The ionization of air present between the two electrodes produces an arc and provides intense light.

Incandescent lamps

When the filaments of these lamps are heated to high temperature, they emit light that falls in the visible region of wavelength. Tungsten-filament lamps are operating on this principle.

Gaseous discharge lamps

When an electric current is made to pass through a gas or metal vapor, it produces visible radiation by discharge takes place in the gas vapor. Sodium and mercury vapor lamps operate on this principle.

Fluorescent lamps

Certain materials like phosphor powders exposed to ultraviolet rays emits the absorbed energy into visible radiations fall in the visible range of wavelength. This principle is employed in fluorescent lamps.

ARC LAMPS

In arc lamps, the electrodes are in contact with each other and are separated by some distance apart; the electric current is made to flow through these two electrodes. The discharge is allowed to take place in the atmosphere where there are the production of a very intense light and a considerable amount of UV radiation, when an arc is struck between two electrodes.

The arcs maintain current and is very efficient source of light. They are used in search lights, projection lamps, and other special purpose lamps such as those in flash cameras.

Generally, used arc lamps are:

- carbon arc lamp,

- flame arc lamp, and

- magnetic arc lamp.

Carbon arc lamp

Carbon arc lamp consists of two hard rod-type electrodes made up of carbon. Two electrodes are placed end to end and are connected to the DC supply. The positive electrode is of a large size than that of the negative electrode. The carbon electrodes used with AC supply are of the same size as that of the DC supply. The DC supply across the two electrodes must not be less than 45 V. When electric current passes through the electrodes are in contact and then withdrawn apart about 2–3 mm an arc is established between the two rods.

The two edges of the rods becomes incandescence due to the high resistance offered by rods as shown in Fig. 7.1 by transfer of carbon particles from one rod to the other. It is observed that carbon particles transfer from the positive rod to the negative one. So that the positive electrode gets consumed earlier than the negative electrode. Hence, the positive electrode is of twice the diameter than that of the negative electrode.

Fig Carbon arc lamp

In case of AC supply, the rate of consumption of the two electrodes is same; therefore, the cross-section of the two electrodes is same. A resistance ‘R’ is connected in series with the electrode for stabilizing the arc. As current increases, the vaporizing rate of carbon increases, which decreases the resistance so much, then voltage drop across the arc decreases. So, to maintain the arc between the two electrodes, series resistance should be necessarily connected.

For maintaining the arc, the necessary voltage required is:

V = (39 + 2.8 l ) V,

where l is the length of the arc. The voltage drop across the arc is 60 V, the temperature of the positive electrode is 3,500 – 4,200°C, and the temperature of the negative electrode is 2,500°C. The luminous efficiency of such lamps is 9–12 lumens/W. This low luminous efficiency is due to the service resistance provided in DC supply while in case of AC supply, an inductor is used in place of a resistor. In carbon arc lamps, 85% of the light is given out by the positive electrode, 10% of the light is given out by the negative electrodes, and 5% of the light is given out by the air.

Flame arc lamp

The electrodes used in flame arc lamp are made up of 85% of carbon and 15% of fluoride. This fluoride is also known as flame material; it has the efficient property that radiates light energy from high heated arc stream. Generally, the core type electrodes are used and the cavities are filled with fluoride. The principle of operation of the flame arc lamp is similar to the carbon arc lamp. When the arc is established between the electrodes, both fluoride and carbon get vaporized and give out very high luminous intensities. The color output of the flame arc lamps depends upon the flame materials. The luminous efficiency of such lamp is 8 lumens/W. A simple flame arc lamp is shown in Fig. 7.2. Resistance is connected in service with the electrodes to stabilize the arc.

Fig. 7.2 Flame arc lamp

Magnetic arc lamp

The principle of the operation of the magnetic arc lamp is similar to the carbon arc lamp. This lamp consists of positive electrode that is made up of copper and negative electrode that is made up of magnetic oxide of iron. Light energy radiated out when the arc is struck between the two electrodes. These are rarely used lamps.

INCANDESCENT LAMP

These lamps are temperature-dependent sources. When electric current is made to flow through a fine metallic wire, which is known as filament, its temperature increases. At low temperatures, it emits only heat energy, but at very high temperature, the metallic wire emits both heat and light energy. These incandescent lamps are also known as temperature radiators.

Choice of material for filament

The materials commonly used as filament for incandescent lamps are carbon, tantalum, tungsten, and osmium.

The materials used for the filament of the incandescent lamp have the following properties.

- The melting point of the filament material should be high. o The temperature coefficient of the material should be low. o It should be high resistive material.

o The material should possess good mechanical strength to withstand vibrations. o The material should be ductile.

7.4.2 Comparisons of carbon, osmium, tantalum, and tungsten used for making the filament

Carbon

- Carbon has high melting point of 3,500°C; even though, its melting point is high, carbon starts disintegration at very fast rate beyond its working temperature of 1,800°C.

- Its resistance decreases with increase in temperature, i.e., its temperature coefficient of resistivity is negative, so that it draws more current from the supply. The temperature coefficient (α) is –0.0002 to – 0.0008.

- The efficiency of carbon filament lamp is low; because of its low operating tem perature, large electrical

input is required. The commercial efficiency of carbon lamp is 3 – 4.5 lumens/W approximately.

- Carbon has high resistivity (ρ), which is about 1,000–7,000 μΩ-cm and its density is 1.7–3.5.

Osmium

- The melting point of osmium is 2,600°C. o It is very rare and expensive metal.

o  The average efficiency of osmium lamp is 5 lumens/W.

Tantalum

- The melting point of tantalum is 3,000°C. o Resistivity (ρ) is 12.5 μΩ-cm.

o The main drawback of the negative temperature coefficient of carbon is overcome in tantalum. It has positive temperature coefficient (α) and its value is 0.0036.

o  The density of tantalum is 16.6.

o  The efficiency of tantalum lamp is 2 lumens/W.

Tungsten

- The working temperature of tungsten is 2,500–3,000°C.

- Its resistance at working temperature is about 12–15 times the cold resistance. o It has positive temperature coefficient of resistance of 0.0045.

o Its resistivity is 5.6 12.5 μΩ-cm. o The density of tungsten is 19.3.

o The efficiency of tantalum when working at 2,000°C is 18 lumens/W. o Its vapor pressure is low when compared to carbon.

In fact, the carbon lamp is the first lamp introduced by Thomas Alva Edison in 1879, owing to two drawbacks, tungsten radiates more energy in visible spectrum and somewhat less in infrared spectrum so that there was a switch over in infrared spectrum so that there was a switch over from carbon filament to tungsten filament. Nowadays, tungsten filament lamps are widely used incandescent lamps.

The chemically pure tungsten is very strong and fragile. In order to make it into ductile, tungsten oxide is first reduced in the form of gray power in the atmosphere of hydrogen and this powder is pressed in steel mold for small bars; the mechanical strength of these bars can be improved by heating them to their melting point and then hammered at red-hot position and re-rolled into wires.

Construction

Figure 7.3 shows the construction of the pure tungsten filament incandescent lamp. It consists of an evacuated glass bulb and an aluminum or brass cap is provided with two pins to insert the bulb into the socket. The inner side of the bulb consists of a tungsten filament and the support wires are made of molybdenum to hold the filament in proper position. A glass button is provided in which the support wires are inserted. A stem tube forms an air-tight seal around the filament whenever the glass is melted.

Fig. 7.3 Incandescent lamp

Operation

When electric current is made to flow through the fine metallic tungsten filament, its temperature increases. At very high temperature, the filament emits both heat and light radiations, which fall in the visible region. The maximum temperature at which the filament can be worked without oxidization is 2,000°C, i.e., beyond this temperature, the tungsten filament blackens the inside of the bulb. The tungsten filament lamps can be operated efficiently beyond 2,000°C, it can be attained by inserting a small quantity of inert gas nitrogen with small quantity of organ. But if gas is inserted instead of vacuum in the inner side of the bulb, the heat of the lamp is conducted away and it reduces the efficiency of the lamp. To reduce this loss of heat by conduction and convection, as far as possible, the filament should be so wound that it takes very little space. This is achieved by using a single-coil filament instead of a straight wire filament as shown in Fig.

7.4(a). This single-coil filament is used in vacuum bulbs up to 25 W and gas filled bulbs from

300 to 1,000 W.

Fig. 7.4 Various filaments used in incandescent lamps

On further development of the incandescent lamps, the shortening of the length of the filament was achieved by adopting a coiled coil or a double coil filament as shown in Fig. 7.4(b). The use of coiled coil filament not only improves the efficiency of the lamp but also reduces the number of filament supports and thus simplified interior construction because the double coil reduces the filament mounting length in the ratio of 1:25 as compared to the straight wire filaments.

Usually, the tungsten filament lamp suffers from ‘aging effect’, the output of the light an incandescent lamp decreases as the lamp ages. The output of the light of the lamp decreases due to two reasons.

- At very high temperature, the vaporization of filament decreases the coil diameter so that resistance of the filament increases and hence its draws less current from the supply, so the temperature of the filament and the light output of the bulb decrease.

- The current drawn from the mains and the power consumed by the filament decrease, which decrease the efficiency of the lamp with the passage of time. In addition, the evaporation of the filament at high temperature blackens the inside of the bulb.

The effects of voltage variations

The variations in normal supply voltages will affect the operating characteristics of incandescent lamps. The performance characteristic of an incandescent lamp, when it is subjected to voltage other than normal voltage, is shown in Fig. .

Fig Performance characteristics of incandescent lamp

With an increase in the voltage owing to the increase in the temperature, the luminous output of the incandescent lamps, and the efficiency and power consumption, but its life span decreases.

The depreciation in the light output is around 15% over the useful life of the lamp. The above-stated factors are related to the variations of voltage are given as:

- Lumens output ∝ (voltage)3.55.

- Power consumption ∝ (voltage)1.55. o Luminous efficiency ∝ (voltage)2.

o Life ∝ (voltage)–13 (for vacuum lamps). o Life ∝ (voltage)–14 (for gas filled lamps).

The advantages of the incandescent lamps

- These lamps are available in various shapes and sizes. o These are operating at unity power factor.

o  These lamps are not affected by surrounding air temperature.

o  Different colored light output can be obtained by using different colored glasses.

Filament dimensions

Let us consider a lamp, which is connected to the mains, is given the steady light output, i.e., whatever the heat produced, it is dissipated and the filament temperature is not going to be

increase further. It is found to be the existence of a definite relation between the diameter of a given filament and the current through it.

The input wattage to the lamp is expressed as:

where I is the current taken by the lamp A, a is the filament cross-section, sq. m, ρ is the resistivity of the filament at working temperature Ω-m, l is the length of the filament m, andd is the diameter of the filament.

Let the emissivity of the material be ‘e’. Total heat dissipated will depend upon the surface area and the emissivity of the material

- Heat dissipated ∝ surface area × emissivity:

At the steady state condition, the power input should be equal to the heat dissipated. From Equations (7.1) and (7.2), we can write that:

If two filaments are made up of same material, working at same temperature and efficiency but with different diameters, then from Equation (7.3):

If two filaments are working at the same temperature, then their luminous output must be same even though their lengths are different.

Limitations

The incandescent lamp suffers from the following drawbacks:

- Low efficiency.

- Colored light can be obtained by using different colored glass enclosures only.

DISCHARGE LAMPS

Discharge lamps have been developed to overcome the drawbacks of the incandescent lamp. The main principle of the operation of light in a gaseous discharge lamp is illustrated as below.

In all discharge lamps, an electric current is made to pass through a gas or vapor, which produces its illuminance. Normally, at high pressures and atmospheric conditions, all the gases are poor conductors of electricity. But on application of sufficient voltage across the two electrodes, these ionized gases produce electromagnetic radiation. In the process of producing light by gaseous conduction, the most commonly used elements are neon, sodium, and mercury. The wavelength of the electromagnetic radiation depends upon the nature of gas and the gaseous pressure used inside the lamp. A simple discharge lamp is shown in Fig. 7.6.

Fig. Discharge lamps

The production of light in the gaseous discharge lamps is based on the phenomenon of excitation and ionization of gas or metal vapor present between the two electrodes of a discharge tube.

When the potential between the two electrodes is equals to ionizing potential, gas or metal vapor starts ionizing and an arc is established between the two electrodes. Volt–ampere characteristics of the arc is negative, i.e., gaseous discharge lamp possess a negative resistance characteristics. A choke or ballast is provided to limit high currents to a safe value. Here, the choke serves two functions.

- It provides ignition voltage initially. o Limits high currents.

The use of choke will reduce the power factor (0.3–0.4) of all the gaseous lamps so that all the discharge lamps should be provided with a condenser to improve the power factor. The nature of the gas and vapor used in the lamp will affect the color affected of light.

Types of discharge lamps

Generally used discharge lamps are of two types. They are:

- The lamps that emit light of the color produced by discharge takes place through the gas or vapor present in the discharge tube such as neon gas, sodium vapor, mercury vapor, etc.

Ex: Neon gas, sodium vapor lamp, and mercury vapor lamp.

- The lamp that emits light of color depends upon the type of phosphor material coated inside the walls of the discharge tube. Initially, the discharge takes place through the vapor produces UV radiation, then the invisible UV rays absorbed by the phosphors and radiates light energy falls in the visible region. This UV light causes fluorescence in certain phosphor materials, such lamps are known as fluorescent lamps.

Ex: Fluorescent mercury vapor tube.

In general, the gaseous discharge lamps are superior to the tungsten filament lamps.

Drawbacks

The discharge lamps suffer from the following drawbacks.

- The starting of the discharge lamps requires starters and transformers; therefore, the lamp circuitry is complex.

- High initial cost.

- Poor power factor; therefore, the lamps make use of the capacitor.

- Time required to give its full output brilliancy is more.

- These lamps must be placed in particular position.

- These lamps require stabilizing choke to limit current since the lamps have negative resistance characteristics.

NEON DISCHARGE LAMP

This is a cold cathode lamp, in which no filament is used to heat the electrode for starting.

Neon lamp consists of two electrodes placed at the two ends of a long discharge tube is shown in Fig. 7.7.

Fig. Neon lamps

The discharge tube is filled with neon gas. A low voltage of 150 V on DC or 110 V on AC is impressed across the two electrodes; the discharge takes place through the neon gas that emits light or electro magnetic radiation reddish in color. The sizes of electrodes used are equal for both AC and DC supplies. On DC, neon glow appear nearer to the negative electrode; therefore, the negative electrode is made larger in size. Neon lamp electric circuit consists of a transformer with high leakage reactance in order to stabilize the arc. Capacitor is used to improve the power factor. Neon lamp efficiency is approximately 15–40 lumens/W. The power consumption of the neon lamp is 5 W.

If the helium gas is used instead of neon, pinkish white light is obtained. These lamps are used as night lamps and as indicator lamps and used for the determination of the polarity of DC mains and for advertising purpose.

SODIUM VAPOR LAMP

A sodium vapor lamp is a cold cathode and low-pressure lamp. A sodium vapor discharge lamp consists of a U-shaped tube enclosed in a double-walled vacuum flask, to keep the temperature of the tube within the working region. The inner U-tube consists of two oxide-coated electrodes, which are sealed with the ends. These electrodes are connected to a pin type base construction of sodium vapor lamp is shown in Fig. .

Fig. Sodium vapor lamp

This sodium vapor lamp is low luminosity lamp, so that the length of the lamp should be more. In order to get the desired length, it is made in the form of a U-shaped tube. This longU-tube consists of a small amount of neon gas and metallic sodium. At the time of start, the neon gas vaporizes and develops sufficient heat to vaporize metallic sodium in the U-shaped tube.

Working

Initially, the sodium is in the form of a solid, deposited on the walls of inner tube. When sufficient voltage is impressed across the electrodes, the discharge starts in the inert gas, i.e., neon; it operates as a low-pressure neon lamp with pink color. The temperature of the lamp

increases gradually and the metallic sodium vaporizes and then ionizes thereby producing the monochromatic yellow light. This lamp takes 10–15 min to give its full light output. The yellowish output of the lamp makes the object appears gray.

In order to start the lamp, 380 – 450 V of striking voltage required for 40- and 100-W lamps. These voltages can be obtained from a high reactance transformer or an auto transformer. The operating power factor of the lamp is very poor, so that a capacitor is placed to improve the power factor to above 0.8. More care should be taken while replacing the inner tube, if it is broken, then sodium comes in contact with the moisture; therefore, fire will result. The lamp must be operated horizontally or nearly so, to spread out the sodium well along the tube.

The efficiency of sodium vapor lamp is lies between 40 and 50 lumens/W. Normally, these lamps are manufactured in 45-, 60-, 85- and 140-W ratings. The normal operating temperatures of these lamps are 300°C. In general, the average life of the sodium vapor lamp is 3,000 hr and such bulbs are not affected by voltage variations.

Following are the causes of failure to operate the lamp, when:

- The cathode fails to emit the electrons. o The filament breaks or burns out.

o All the particles of sodium are concentrated on one side of the inner tube. o The life of the lamp increases due to aging.

The average light output of the lamp is reduced by 15% due to aging. These lamps are mainly used for highway and street lighting, parks, railway yards, general outdoor lighting, etc.

HIGH-PRESSURE MERCURY VAPOR LAMP

The working of the mercury vapor discharge lamp mainly depends upon the pressure, voltage, temperature, and other characteristics that influence the spectral quality and the efficiency of the lamp.

Generally used high-pressure mercury vapor lamps are of three types. They are:

- MA type: Preferred for 250- and 400-W rating bulbs on 200–250-V AC supply.

- MAT type: Preferred for 300- and 500-W rating bulbs on 200–250-V AC supply.

- MB type: Preferred for 80- and 125-W rating bulbs and they are working at very high pressures.

MA type lamp

It is a high-pressure mercury vapor discharge lamp that is similar to the construction of sodium vapor lamp. The construction of MA type lamp is shown in Fig. 7.9

Fig. MA type lamp

MA type lamp consists of a long discharge tube in ‘U’ shape and is made up of hard glass or quartz. This discharge tube is enclosed in an outer tube of ordinary glass. To prevent the heat loss from the inner bulb, by convection, the gap between the two tubes is completely evacuated. The inner tube contains two main electrodes and an auxiliary starting electrode, which is connected through a high resistance of about 50 kΩ. It also contains a small quantity of argon gas and mercury. The two main electrodes are tungsten coils coated with electron emitting material (such as thorium metal).

Working

Initially, the tube is cold and hence the mercury is in condensed form. Initially, when supply is given to the lamp, argon gas present between the main and the auxiliary electrodes gets

ionized, and an arc is established, and then discharge takes place through argon for few minutes between the main and the auxiliary electrodes. As a result, discharge takes place through argon for few minutes in between the main and the auxiliary electrodes. The discharge can be controlled by using high resistance that is inserted in-series with the auxiliary electrode. After few minutes, the argon gas, as a whole, gets ionized between the two main electrodes. Hence, the discharge shifts from the auxiliary electrode to the two main electrodes. During the discharge process, heat is produced and this heat is sufficient to vaporize the mercury. As a result, the pressure inside the discharge tube becomes high and the voltage drop across the two main electrodes will increases from 20 to 150 V. After 5–7 min, the lamp starts and gives its full output.

Initially, the discharge through the argon is pale blue glow and the discharge through the mercury vapors is greenish blue light; here, choke is provided to limit high currents and capacitor is to improve the power factor of the lamp.

If the supply is interrupted, the lamp must cool down and the vapor pressure be reduced before it will start. It takes approximately 3 – 4 min. The operating temperature of the inner discharge tube is about 600°C. The efficiency of this type of lamp is 30–40 lumens/W. These lamps are manufactured in 250 and 400 W ratings for use on 200–250 V on AC supply.

Generally, the MA type lamps are used for general industrial lighting, ports, shopping centers, railway yards, etc.

MAT type lamp

This is another type of mercury vapor lamp that is manufactured in 300 and 500 W rating for use on AC as well as DC supplies. The construction of the MAT type lamp is similar to the MA type lamp except the outer tube being empty; it consists of tungsten filament so that at the time of starting, it works as a tungsten filament lamp. Here, the filament itself acts as a choke or ballast to limit the high currents to safer value.

When the supply is switched on, it works as a tungsten filament lamp, its full output is given by the outer tube. At this time, the temperature of the inner discharge tube increases gradually, the argon gas present in it starts ionizing in the discharge tube at any particular temperature is attained then thermal switch gets opened, and the part of the filament is detached and voltage across the discharge tube increases. Now, the discharge takes place through the mercury vapor. Useful color effect can be obtained by this lamp. This is because of the combination of light emitted form the filament and blue radiations from the discharge tube. In this type of lamp, capacitor is not required since the overall power factor of the lamp is 0.95; this is because the filament itself acts as resistance. Fig. 7.10 shows the construction of MAT type lamp.

Fig. MAT type lamp

MB type lamp

Schematic representation of MB type lamp is shown in Fig. .

Fig. MB type lamp

The MB type lamp is also similar to the MA type lamp. The inner discharge tube for the MB type lamp is about 5 -cm long and is made up of quartz material. It has three electrodes; two main and one auxiliary electrodes. There are three electrodes present in the MB type lamp, namely two main electrodes and one auxiliary electrode. Relatively, very high pressure is maintained inside the discharge tube and it is about 5–10 times greater than atmospheric pressure. The outer tube is made with pearl glass material so as to withstand high temperatures. We can use these tubes in any position, because they are made up of special glass material.

The working principle of the MB type lamp is similar to the MA type lamp. These lamps are manufactured in 300 and 500 W rating for use in AC as well as DC supplies. An MB type lamp consists a bayonet cap with three pins, so it may not be used in an ordinary sense. A choke coil and a capacitor are necessary for working with these types of lamps.

FLUORESCENT LAMP (LOW-PRESSURE MERCURY VAPOR LAMP)

Fluorescent lamp is a hot cathode low-pressure mercury vapor lamp; the construction and working of the fluorescent lamp are explained as follows.

Construction

It consists of a long horizontal tube, due to low pressure maintained inside of the bulb; it is made in the form of a long tube.

The tube consists of two spiral tungsten electrode coated with electron emissive material and are placed at the two edges of long tube. The tube contains small quantity of argon gas and certain amount of mercury, at a pressure of 2.5 mm of mercury. The construction of fluorescent lamp is shown in Fig. 7.12. Normally, low-pressure mercury vapor lamps suffer from low efficiency and they produce an objectionable colored light. Such drawback is overcome by coating the inside of the tube with fluorescent powders. They are in the form of solids, which are usually knows as phosphors.

Fig. Fluorescent lamp

A glow starter switch contains small quantity of argon gas, having a small cathode glow lamp with bimetallic strip is connected in series with the electrodes, which puts the electrodes directly across the supply at the time of starting. A choke is connected in series that acts as ballast when the lamp is running, and it provides a voltage impulse for starting. A capacitor of 4μF is connected across the starter in order to improve the power factor.

Working

At the time of starting, when both the lamp and the glow starters are cold, the mercury is in the form of globules. When supply is switched on, the glow starter terminals are open circuited and full supply voltage appeared across these terminals, due to low resistance of electrodes and choke coil. The small quantity of argon gas gets ionized, which establishes an arc with a starting glow. This glow warms up the bimetallic strip thus glow starts gets short circuited. Hence, the two electrodes come in series and are connected across the supply voltage. Now, the two electrodes get heated and start emitting electrons due to the flow of current through them. These electrons collide with the argon atoms present in the long tube discharge that takes place through the argon gas. So, in the beginning, the lamp starts conduction with argon gas as the temperature increases, the mercury changes into vapor form and takes over the conduction of current.

In the mean time, the starter potential reaches to zero and the bimetallic strip gets cooling down. As a result, the starter terminals will open. This results breaking of the series circuit. A

very high voltage around 1,000 V is induced, because of the sudden opening of starter terminals in the series circuit. But in the long tube, electrons are already present; this induced voltage is quite sufficient to break down the long gap. Thus, more number of electrons collide with argon and mercury vapor atoms. The excited atom of mercury gives UV radiation, which will not fall in the visible region.

Meanwhile, these UV rays are made to strike phosphor material; it causes the re-emission of light of different wavelengths producing illumination. The phenomenon of the emission is called as luminescence.

This luminescence is classified into two ways. They are:

- Fluorescence: In this case, the excitation presents for the excited periods only.

- Phosphorescence: In this case, even after the exciting source is removed, the excitation will present.

In a lamp, the re-emission of light causes fluorescence, then such lamp is known asfluorescent lamp.

Depending upon the type of phosphor material used, we get light of different colors as given in Table. .

Table Colors of light

|  |  |  |  | Phosphor material |  |  | Color effect |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. |  |  | Zinc silicate |  |  | Green |
|  | 2. |  |  | Calcium tungstate |  |  | Green |  |
| 3. |  |  | Magnesium tungstate |  |  | Bluish while |
|  | 4. |  |  | Cadmium silicate |  |  | Yellowish pink |  |
| 5. |  |  | Zinc beryllium silicate |  |  | Yellowish while |
|  | 6. |  |  | Cadmium borate |  |  | Pink |  |

Advantages of fluorescent lamp

The fluorescent lamp has the following advantages:

- High efficiency.

- The life of the lamp is three times of the ordinary filament lamp.

- The quality of the light obtained is much superior. o Less chances of glare.

o  These lamps can be mounted on low ceiling, where other light sources would be unsatisfactory.

Although the fluorescent lamp has the above advantages, it sufferers form the following disadvantages:

- The initial cost is high because of choke and starter.

- The starting time as well as the light output of the lamp will increases because of low ambient

temperature.

- Because of the presence of choke, these lamps suffer from magnetic humming and may cause disturbance.

- The stroboscopic effect of this lamp is objectionable.

Stroboscopic effect

We all know that because of ‘the alternating nature of supply, it crosses zero two times in a cycle’. For 50-Hz frequency supply of the alternating current, a discharge lamp will be extinguished twice in a cycle and 100 times per second (for 50-Hz supply). A human eye cannot identify this extinguish phenomenon, because of the persistence of vision. If this light falls upon a moving object, the object appearing like slow moving or fast moving or moving in reverse direction, sometimes stationary. This effect is due to the extinguishing nature of the light of the lamp. This effect is called as ‘stroboscopic effect’.

This effect can be avoided by employing any of the two techniques listed below.

- If we have three-phase supply, then the fluorescent lamps that are adjacent should be fed from different phases. Then, no two lamps will not be in same phase at zero instant of AC supply, so light is present at any instant.

- If the available supply is single phase, then twin tube circuitry as shown in Fig. 7.13, we can eliminate stroboscopic effect.

Fig. Lead–lag circuit

Twin tube circuit is also known as lead–lag circuit. Here two tubes are connected in parallel. One of the two tubes provided with a capacitor in series with the choke coil. The current through the lamps is almost 90° out of phase and under these conditions, the light output of one of the lamps is at maximum. Moreover, the overall power factor of lamps is unity. In this lead–lag arrangement, one of the lamps is operating at 0.5 lagging, the other, provided with capacitor, is operating at 0.5 leading.

In general, the life of a fluorescent lamp is about 7,500 hr. Based on the operating conditions, the lamp's actual life can be varied from 5,000 to 10,000 hr. It is recommended to replace a lamp after 4,000–5,000 of its working hours.

COMPARISON BETWEEN TUNGSTEN FILAMENT LAMPS AND FLUORESCENT LAMPS

|  |  | Incandescent lamp |  |  |  | Fluorescent lamp |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1. | Initial cost is less. | 1. | Initial cost is more. |  |
|  | 2. | Fluctuation in supply voltage has less effect on light |  |  | 2. | Fluctuations in supply voltage has comparatively |  |
|  | output, as the variations in voltage are absorbed in choke. |  |  | more effect on the light output. |  |

|  |  | Incandescent lamp |  |  |  | Fluorescent lamp |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 3. | It radiates the light; the color of which resembles the | 3. | It does not give light close to the natural light. |
| natural light. |  |  |  |  |
|  | 4. | It works on AC as well as DC. |  |  | 4. | Change of supply needs additional equipment. |  |
| 5. | The luminous efficiency of the lamp is high that is about | 5. | The luminous efficiency is poor, which is about 8– |
| 8 – 40 lumens/W. | 10 lumen/W. |
|  | 6. | Different color lights can be obtained by using different |  |  | 6. | Different color lights can be obtained by using |  |
|  | colored glasses. |  |  | different composition of fluorescent powder. |  |
| 7. | Brightness of the lamp is more. | 7. | Brightness of the lamp is less. |
|  | 8. | The reduction in light output of the lamp is comparatively |  |  | 8. | The reduction in light output of the lamp is |  |
|  | high, with the time. |  |  | comparatively low, with the lamp. |  |
| 9. | The working temperature is about 2,000°C. | 9. | The working temperature is about 50°C. |
|  | 10. The normal working life is 1,000 hr. |  |  | 10. The normal working life is 5,000–7,500 hr. |  |
| 11. No stroboscopic effect. | 11. Stroboscopic effect is present. |
|  | 12. These lamps are widely used for domestic, industrial, |  |  | 12. They find wide application in domestic, industrial, |  |
|  | and street lighting. |  |  | and floodlighting. |  |
| 13. The luminous efficiency increases with the increase in | 13. The luminous efficiency increase with the increase |
| the voltage of the lamp. | in voltage and the increase in the length of tube. |

BASIC PRINCIPLES OF LIGHT CONTROL

When light strikes the surface of an object, based on the properties of that surface, some portion of the light is reflected, some portion is transmitted through the medium of the surface, and the remaining is absorbed.

The method of light control is used to change the direction of light through large angle. There are four light control methods. They are:

- reflection,

- refraction,

- riffusion, and

- absorption.

Reflection

The light falling on the surface, whole of the light will not absorbed or transmitted through the surface, but some of the light is reflected back, at an angle equals to the angle of incidence. The ratio of reflected light energy to the incident light energy is known as reflection factor. The two basic types of reflection are:

- mirror or specular reflection and

- diffuse reflection.

Specular reflection

When whole of the light falling on a smooth surfaces will be reflected back at an angle equal to the angle of incidence. Such a reflection is known as specular reflection. With such reflection, observer will be able to see the light source but not the illuminated surface. Most of the surfaces causing the specular reflection are silvered mirrors, highly polished metal surfaces. Specular reflection is shown in Fig. 7.17.

Fig. 7.17 Specular reflection

A surface that is almost free from reflection is called a matt surface.

Diffuse reflection

When the light ray falling on any surface, it is scattered in all directions irrespective of the angle of incidence. Such type of reflector is known as diffuse reflection and is shown in Fig. 7.18. Most

of the surfaces causing the diffuse reflection are rough or matt surfaces such as blotting paper, frosted glass, plaster, etc.

Fig. 7.18 Diffuse reflection

In this reflection, observer will be able to see the illuminated surface but not the light source.

Refraction

When a beam of light passes through two different mediums having different densities, the light ray will be reflected. This phenomenon is known as refraction.

Figure 7.19 shows the refraction of light ray from dense medium to rare medium

where μ1 andμ2 are the refractive indices of two medium, θ is the angle of incidence, and α is the angle of reflection.

Fig. 7.19 Refraction

The angle of light ray with normal is comparatively less in dense medium than in rare medium.

Diffusion

When a ray of light falling on a surface is reflected in all possible directions, so that such surface appears luminous from all possible directions. This can be achieved with a diffusing glass screen introduced between the observer and the light source. The normally employed diffusing glasses are opal glass and frosted glass. Both are ordinary glasses, but frosted glass is an ordinary glass coated with crystalline substance.

Although frosted glass is cheaper than opal glass, the disadvantage of frosted glass is, it collects more dust particles and it is difficult to clean.

Absorption

In some of the cases, whole of the light emitted by tungsten filament lamp will be excessive, so that it is necessary to avoid that the amount of unwanted wavelengths without interference. This can be achieved by using a special bluish colored glass for the filament lamp to absorb the unwanted radiation.

TYPES OF LIGHTING SCHEMES

Usually, with the reflector and some special diffusing screens, it is possible to control the distribution of light emitted from lamps up to some extent. A good lighting scheme results in an attractive and commanding presence of objects and enhances the architectural style of the interior of a building. Depending upon the requirements and the way of light reaching the surface, lighting schemes are classified as follows:

- direct lighting,

- semidirect lighting,

- indirect lighting,

- semi-indirect lighting, and

- general lighting.

Direct lighting schemes

Direct lighting scheme is most widely used for interior lighting scheme. In this scheme, by using deep reflectors, it is possible to make 90% of light falls just below the lamp. This scheme is more efficient but it suffers from hard shadows and glare. Hence, while designing such schemes, all the possibilities that will cause glare on the eye have to be eliminated. It is mainly used for industrial and general outdoor lighting.

Semidirect lighting schemes

In semidirect lighting scheme, about 60–90% of lamps luminous flux is made to fall downward directly by using some reflectors and the rest of the light is used to illuminate the walls and ceiling. This type of light scheme is employed in rooms with high ceiling. Glare can be avoided by employing diffusing globes. This scheme will improve not only the brightness but also the efficiency.

Indirect lighting schemes

In this lighting scheme, 90% of total light is thrown upwards to the ceiling. In such scheme, the ceiling acts as the lighting source and glare is reduced to minimum.

This system provides shadowless illumination, which is very useful for drawing offices and in workshops where large machines and other difficulties would cause trouble some shadows if direct lighting schemes were used.

Semi-indirect lighting schemes

In semi-indirect lighting scheme, about 60–90% of light from the lamp is thrown upwards to the ceiling and the remaining luminous flux reaches the working surface. Glare will be completely

eliminated with such type of lighting scheme. This scheme is widely preferred for indoor lighting decoration purpose.

General lighting scheme

This scheme of lighting use diffusing glasses to produce the equal illumination in all directions. Mounting height of the source should be much above eye level to avoid glare. Lamp fittings of various lighting schemes are shown in Fig. 7.20.

Fig. 7.20 Lighting schemes

DESIGN OF LIGHTING SCHEMES

The lighting scheme should be such that:

- It should be able to provide sufficient illumination.

- It should be able to provide the uniform distribution of light throughout the working plane. o It should be able to produce the light of suitable color.

o  It should be able to avoid glare and hard shadows as much as possible.

While designing a lighting scheme, the following factors should be taken into consideration.

- Illumination level.

- The size of the room.

- The mounting height and the space of fitting.

STREET LIGHTING

Street lighting not only requires for shopping centers, promenades, etc. but also necessary for the following.

- In order to make the street more attractive, so that obstructions on the road clearly visible to the drivers of vehicles.

- To increase the community value of the street.

- To clear the traffic easily in order to promote safety and convenience.

The basic principles employed for the street lighting are given below.

- Diffusion principle.

- The specular reflection principle.

Diffusion principle

In this method, light is directed downwards from the lamp by the suitably designed reflectors. The design of these reflectors are in such a way that they may reflect total light over the road surface uniformly as much as possible. The reflectors are made to have a cutoff between 30° and 45°, so that the filament of the lamp is not visible expect just below the source, which results in eliminating glare. Illumination at any point on the road surface is calculated by applying inverse square low or point-by-point method.

Specular reflection principle

The specular reflection principle enables a motorist to see an object about 30 m ahead. In this case, the reflectors are curved upwards, so that the light is thrown on the road at a very large angle of incidence. This can be explained with the help of Fig. 7.21. An object resides over the road at ‘P’ in between the lamps S1, S2, and S3 and the observer at ‘Q’.

Fig. 7.21 Specular reflection for street lighting

Thus, the object will appear immediately against the bright road surface due to the lamps at a longer distance. This method of lighting is only suitable for straight sections along the road. In this method, it is observed that the objects on the roadway can be seen by a smaller expenditure of power than by the diffusion method of lighting.

Illumination level, mounting height, and the types of lamps for street lighting

Normally, illumination required depends upon the class of street lighting installation. The illumination required for different areas of street lighting are given in Table 7.3.

Table 7.3 Illumination required for different areas of street lighting

|  |  |  |  | Area |  |  | Illumination (lumen/m2) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1. |  | Road junctions and important shopping centers. |  | 30 |  |
|  | 2. |  |  | Poorly lighted sub-urban streets. |  |  | 4 |  |
| 3. |  | Average well-lighted street. |  |  | 8–15 |

Mercury vapor and sodium vapor discharge lamps are preferable for street lighting since the overall cost of the installation of discharge lamps are less than the filament lamps and also the less power consumption for a given amount of power output. Normal spacing for the standard lamps is 50 m with a mounting height of 8 m. Lamp posts should be fixed at the junctions of roads.

FLOODLIGHTING

Floodlighting means flooding of large surface areas with light from powerful projectors. A special reflector and housing is employed in floodlighting in order to concentrate the light emitted from the lamp into a relatively narrow beam, which is known as floodlight projector. This projector consists of a reflecting surface that may be a silvered glass or chromium plate or stainless steel. The efficiency of silvered glass and polished metal are 85–90% and 70%, respectively. Usually metal reflectors are robust; therefore, they can be preferred. An important application of illumination engineering is the floodlighting of large and open areas. It is necessary to employ floodlighting to serve one or more of the following purposes.

.

METHODS OF LIGHTING CALCULATIONS

There are so many methods have been employed for lighting calculation, some of those methods are as follows.

- Watts-per-square-meter method.

- Lumen or light flux method

- Point-to-point method

.

Example 7.1: A room 20 × 10 m is illuminated by 60 W incandescent lamps of lumen output of 1,600 lumens. The average illumination required at the workplace is 300 lux. Calculate the number of lamps required to be fitted in the room. Assume utilization and depreciation factors as 0.5 and 1, respectively.

Solution:

The area of the room (A) = 20 × 10 m

= 200 m2.

Total illumination required (E) = 300 lux.

The wattage of each lamp = 60 W

The luminous output of the lamp (φ) = 1,600 lumens

UF = 0.5, DF = 1.

- Maintenance factor,

- The number of lamps required:

Example 7.2: The front of a building 35 × 18 m is illuminated by 15 lamps; the wattage of each lamp is 80 W. The lamps are arranged so that uniform illumination on the surface is obtained. Assuming a luminous efficiency of 20 lumens/W, the coefficient of utilization is 0.8, the waste light factor is 1.25, DF = 0.9. Determine the illumination on the surface.

Solution:

Area = (A) = 35 × 18 = 630 m2.

The number of lamps, N = 15.

Luminous efficiency, η = 20 lumens/W.

UF = 0.8, DF = 0.9.

Waste light factor = 1.25, E = ?

Example 7.3: A room of size 10 × 4 m is to be illuminated by ten 150-W lamps. The MSCP of each lamp is 300. Assuming a depreciation factor of 0.8 and a utilization factor of 0.5. Find the average illumination produced on the floor.

Solution:

The area of the room (A) = 10 × 4 = 40 m2.

The total luminous flux emitted by ten lamps (φ)

= 10 × 150 × 4π = 18, 849.5 lumens.

The total luminous flux reaching the working plane

The illumination on the working plane

Example 7.4: The front of a building 25 × 12 m is illuminated by 20 1,200-W lamps arranged so that uniform illumination on the surface is obtained. Assuming a luminous efficiency of 30 lumens/W and a coefficient of utilization of 0.75. Determine the illumination on the surface. Assume DF = 1.3 and waste light factor 1.2.

Solution:

Area to be illuminated = 25 × 12 = 300 m2.

The total lumens given out by 20 lamps is:

- = number of lamps × wattage of each lamp × efficiency of each lamp

  - 20 × 30 × 1,200 = 720,000 lumens.

The total lumens reaching the surface to be illuminated

The illumination on the surface:

Example 7.5: An illumination of 40 lux is to be produced on the floor of a room 16 × 12 m. 15 lamps are required to produce this illumination in the room; 40% of the emitted light falls on the floor. Determine the power of the lamp in candela. Assume maintenance factor as unity.

Solution:

Given data

E = 40 lux

A = 16 × 12 = 192 m2

Number of lamps, N = 15

UF=0.4,MF=1

Example 7.6: A drawing, with an area of 18 × 12 m, is to be illuminated with an average illumination of about 150 lux. The lamps are to be fitted at 6 m height. Find out the number and size of incandescent lamps required for an efficiency of 20 lumens/W. UF = 0.6, MF = 0.75.

Solution:

Given data:

- = 120 lumens/W

- = 150 lux

- = 18 × 12 = 216 m2

UF = 0.6

MF = 0.75

Let, if 24 lamps are arranged to illuminate the desired area. For space to height ratio unity, i.e., 6 lamps are taken along the length with a space of 18/6 = 3m, and 4 lamps are along the width giving a space of 12/4 = 3 m.

The arrangement of 24 lamps in a hall of 18 × 12 m is shown in Fig. P.7.1

Fig. P.7.1 Lamp arrangement

Example 7.7: A hall of 30 × 20 m area with a ceiling height of 6 m is to be provided with a general illumination of 200 lumens/m2, taking a coefficient of utilization of 0.6 and depreciation factor of 1.6. Determine the number of fluorescent tubes required, their spacing, mounting height, and total wattage. Take luminous efficiency of fluorescent tube as 25 lumens/W for 300-W tube.

Solution:

Given data:

Area of hall (A) = 30 × 20 m = 600 m2

- = 200 lumens/m2

CU = 0.6

DF = 1.6

The wattage of fluorescent tube = 300 W

Efficiency η = 25 lumens/W

Let us arrange 44 lamps in a 30 × 30 m hall, by taking 11 lamps along the length with spacing 30/11 = 2.727 m and 4 lamps along the width with spacing 20/4 = 5m. Here the space to height ratio with this arrangement is, 2.727/5 = 0.545. Disposition of lamps is shown in Fig. P.7.2.

Fig. P.7.2 Lamp arrangement

Example 7.8: A hall 40-m long and 16-m wide is to be illuminated and illumination required is 70-m candles. Five types of lamps having lumen outputs, as given below are available.

Taking a depreciation factor of 1.5 and a utilization coefficient of 0.7, calculate the number of lamps required in each case to produce required illumination. Out of above five types of lamps, select most suitable type and design, a suitable scheme, and make a sketch showing location of lamps. Assume a suitable mounting height and calculate space to height ratio of lamps.

Solution:

Given data:

Area (A) = 30 × 12 = 360 m2

DF = 1.5

CU = 0.7

E = 50-m candle

Total gross lumens required:

- If 50-W lamps are used, the number of lamps required

- If 100-W lamps are used, the number of lamps required

- If 150-W lamps are used, the number of lamps required

- If 200-W lamps are used, the number of lamps required

- If 250-W lamps are used, the number of lamps required

Suitable type of lamp fitting will be 250-W lamps for a hall of 40 × 16 m.

Here, 10 lamps are arranged in two rows, each row having 5 lamps. By taking 5 lamps along the length with spacing 4058=m and 2 lamps along width side with spacing 16/2 = 8m, i.e., space to height ratio = 8/8 = 1.

The disposition of lamps is shown in Fig. P.7.3.

Fig. Lamp arrangement

Among the other lamps, some of wattage lamps require more number of lamp fittings and some other lamps will be few in requirement giving space–height ratio much more than re