## Slide 1: Precision and Accuracy
Lab. 3
2022-2023

## Slide 2: Precision
Resulted from repetition of the same analysis multiple times under the same conditions. Precision is also called "Coefficient of Variation" It depends only on the distribution of random errors and does not relate to the true value. Which represents standard deviation of a group of data compared with the mean percentage.

## Slide 3: Precision
Generally, precision is calculated in two levels of confidence:
1- Level of confidence (63%): Precision% (C.V) = (σ/X) *100 Precision range between 5-15%.
2- Level of confidence (95%): Precision% (C.V) = (2 σ/X) * 100 Precision range between 5-25%.
Where: C.V. = Coefficient of variation;
σ = Standard deviation;
X = Arithmetic mean.

## Slide 4: Accuracy
Accuracy refers to how close a measurement is to its standard or known value. Relative difference (R.D) for water is defined as the difference between sum of cations and anions in (epm).
r Sum of cations – r Sum of anions
% R.D or % U = --------------------------------------------------- × 100
r Sum of cations + r Sum of anions
C = 100- U
% R.D = Relative difference; U is the uncertainty (reaction error); C is the certainty or Accuracy. When U ≤ 5, the result is acceptable, but if 5< U ≤ 10 the result is acceptable with risk, and it is not accepted if it is >10%.

## Slide 5
Accuracy refers to how close a measurement is to its standard or known value. Accuracy for sediment (soil), rock is defined as the difference between published value and analyzed value.
Published value – Analyzed value
Analytical accuracy error = ------------------------------------- x 100
Published value

## Slide 6
Elements | Sa | Sb | Accuracy %
Al (%) | 7.46 | 7.75 | 
Fe | 3.36 | 3.36 | 
Ca | 1.9 | 1.99 | 
Mg | 0.86 | 0.88 | 
Na | 2.53 | 2.6 | 
K | 3.51 | 3.54 | 
Mn | 0.048 | 0.049 | 
Co | 10.55 | 10.3 | 
Cr | 26.5 | 25 | 
Cd | 0.16 | 0.16 | 
Rb | 128 | 123.5 | 
Sr | 424 | 425 | 
Th | 40.2 | 40.2 | 
U | 4.7 | 4.7 | 
V | 59 | 59 | 
Zr | 174.5 | 171.5 | 
Ni | 424 | 428 | 
La | 112 | 115 | 
Ce | 220 | 214 | 
Pr | 23.3 | 23 | 
Nd | 82.7 | 81.6 | 
Sm | 13.8 | 13.75 | 
Eu | 2.31 | 2.19 | 
Gd | 11.31 | 10.1 | 
Tb | 1.58 | 1.5 | 
Dy | 8.96 | 8.61 | 
Ex1: Find the Accuracy of these Major, Trace and REE elements. (Sa Analyzed results, Sb Published (expected) results)

## Slide 7
Elements | S1 | S2 | S3 | Precision 63% | Precision 95%
Al % | 4.18 | 4.17 | 4.18 |  | 
Fe | 1.79 | 1.78 | 1.79 |  | 
Ca | 24.00 | 23.90 | 23.95 |  | 
Ex2: Find the Precision of the following data:
∑ (x – X )2
σ = √ ---------------
n – 1

## Slide 8
Sample | SARM-8 Chromium Ore | STD 1.1 | Accuracy% | BCS-370 Magnesite Chrome | STD 4.1 | Accuracy%
TiO2 | 0.24 | 0.23 |  | 0.13 | 0.13 | 
Fe2O3 | 20.30 | 20.20 |  | 7.23 | 7.21 | 
Al2O3 | 10.60 | 10.50 |  | 12.30 | 12.40 | 
SiO2 | 4.30 | 4.29 |  | 3.01 | 3.04 | 
MnO | 0.25 | 0.25 |  | 0.11 | 0.10 | 
CaO | 0.26 | 0.27 |  | 1.54 | 1.56 | 
Cr2O | 49.00 | 49.10 |  | 13.40 | 13.50 | 
MgO | 14.60 | 14.60 |  | 61.80 | 61.80 | 
SO3 | 0.08 | 0.08 |  | 0.01 | 0.01 | 
P2O5 | 0.01 | 0.01 |  | 0.02 | 0.02 | 
K2O | 0.07 | 0.07 |  | 0.03 | 0.03 | 
Mn | 1940 | 2000 |  | 852.00 | 826.00 | 
Ti | 1440 | 1400 |  | 779.00 | 715.00 | 
Ex3: Find the Accuracy of the following data: